## Inputs_PyPSA
Raw quantities extracted from solved PyPSA networks
DSO assets: costed links with carrier 'electricity distribution grid' (capital_cost > 0). Overnight CAPEX is used only as a ratio vs Build; it is not written into Excel as an absolute bn EUR figure.
run | scenario | cap_fraction | year | costed_dso_links | new_dso_capacity_gw | installed_dso_stock_gw | overnight_investment_eur_per_mw | overnight_capex_eur | overnight_capex_bn_eur | annualised_new_capex_bn_eur_per_yr | dso_capital_cost_eur_per_mw_yr | dso_lifetime_years | dso_fom_percent | dso_discount_rate | dso_currency_year | dso_delivered_hv_to_lv_twh | lv_electric_load_twh | heat_pump_electricity_twh | resistive_heater_electricity_twh | bev_electricity_twh | electrified_lv_demand_twh | electrified_lv_demand_served_twh | lv_load_shedding_twh | solar_rooftop_twh | old_proxy_dso_tariff_eur_per_mwh | old_proxy_vs_incomplete_lv_demand_eur_per_mwh
grid-build-2040 | Build | 1 | 2030 | 37 | 483.2552 | 483.2552 | 667901.6 | 322766938264.314 | 322.7669 | 30.6658 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3082.4035 | 2875.5288 | 630.7309 | 113.3945 | 186.414 | 3806.0682 | 3806.0677 | 0.000561 | 722.2663 | 8.0571 | 9.6575
grid-inaction-2040-mild85 | 85% | 0.85 | 2030 | 37 | 410.7676 | 410.7676 | 667901.6 | 274352316376.9057 | 274.3523 | 26.066 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2846.5799 | 2875.5288 | 501.3024 | 107.1826 | 189.2017 | 3673.2155 | 3673.2149 | 0.000605 | 819.6975 | 7.0962 | 8.2177
grid-inaction-2040-mild75 | 75% | 0.75 | 2030 | 37 | 362.4515 | 362.4515 | 667901.6 | 242081943461.6116 | 242.0819 | 23 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2541.8971 | 2875.5288 | 438.3332 | 132.0744 | 179.7559 | 3625.6923 | 3625.5984 | 0.093894 | 1092.181 | 6.3438 | 7.2162
grid-inaction-2040-mild65 | 65% | 0.65 | 2030 | 37 | 314.1194 | 314.1194 | 667901.6 | 209800863646.1051 | 209.8009 | 19.933 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2364.0228 | 2875.5288 | 378.9412 | 83.06 | 162.3333 | 3499.8632 | 3498.7912 | 1.0721 | 1158.9366 | 5.6971 | 6.3891
grid-inaction-2040-moderate | 50% | 0.5 | 2030 | 37 | 241.6291 | 241.6291 | 667901.6 | 161384473564.7978 | 161.3845 | 15.333 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2041.081 | 2875.5288 | 287.3587 | 16.7425 | 107.039 | 3286.669 | 3178.2886 | 108.3804 | 1160.8742 | 4.8243 | 5.3038
grid-build-2040 | Build | 1 | 2040 | 74 | 223.5291 | 706.7844 | 667901.6 | 149295466702.6022 | 149.2955 | 14.1844 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3927.2037 | 3297.5119 | 876.7947 | 280.2599 | 503.974 | 4958.5405 | 4958.5401 | 0.000366 | 1025.653 | 9.045 | 10.988
grid-inaction-2040-mild85 | 85% | 0.85 | 2040 | 74 | 189.9876 | 600.7552 | 667901.6 | 126893039034.8177 | 126.893 | 12.056 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3735.2676 | 3297.5119 | 851.1124 | 192.1249 | 498.5991 | 4839.3484 | 4839.3481 | 0.000338 | 1101.4286 | 7.8775 | 9.5586
grid-inaction-2040-mild75 | 75% | 0.75 | 2040 | 74 | 167.6417 | 530.0932 | 667901.6 | 111968167759.0624 | 111.9682 | 10.638 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3536.5811 | 3297.5119 | 784.0447 | 114.2403 | 486.7458 | 4682.5426 | 4682.5422 | 0.000428 | 1155.5472 | 7.1837 | 8.6285
grid-inaction-2040-mild65 | 65% | 0.65 | 2040 | 74 | 145.2957 | 459.4151 | 667901.6 | 97043241758.2942 | 97.0432 | 9.22 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3331.3121 | 3297.5119 | 644.6638 | 52.3447 | 470.9787 | 4465.4992 | 4465.4988 | 0.000361 | 1160.6006 | 6.5285 | 7.63
grid-inaction-2040-moderate | 50% | 0.5 | 2040 | 74 | 111.7612 | 353.3903 | 667901.6 | 74645450817.0636 | 74.6455 | 7.092 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2995.9775 | 3297.5119 | 472.9268 | 2.2229 | 390.0308 | 4162.6925 | 4127.3323 | 35.3601 | 1160.898 | 5.4333 | 6.1364

## Mapping
Excel sheet | Cell/range | Quantity written | Source | Notes
PyPSA_Build | H17:V17 (2026-2040) | original Excel CAPEX (Build baseline) | Sheet1 row 17 | Not replaced. PyPSA absolute overnight is not injected.
PyPSA_85/75/65/50pct | H17:L17 (2026-2030) | Excel CAPEX × (scenario 2030 overnight / Build 2030 overnight) | PyPSA ratio only | Typically 0.85/0.75/0.65/0.50 × 72 bn €/yr.
PyPSA_85/75/65/50pct | M17:V17 (2031-2040) | Excel CAPEX × (scenario 2040 overnight / Build 2040 overnight) | PyPSA ratio only | 2040 cohort ratio; 2030 brownfield not recounted.
PyPSA_* | W17:AN17 (2041+) | (unchanged) | Original Excel | No PyPSA 2050 network; left as original 60 bn/yr for all scenarios.
PyPSA_* | B17:G17 (2020-2025) | (unchanged original historical CAPEX) | Original Excel | Kept so the RAB path to today is the same in every scenario.
PyPSA_* | G30 | 2030 DSO HV→LV delivery (TWh) | weighted -min(p1,0) on costed DSO links | Overwrites formula G29*$B$31 so the 80% DSO-share is NOT applied to PyPSA.
PyPSA_* | H30 | 2040 DSO HV→LV delivery (TWh) | same | Same 80% caveat.
PyPSA_* | G35 / H35 | Direct DSO tariff = MAR × 1000 / TWh DSO | L22 / V22 and G30 / H30 | This is allowable revenue / distributed electricity. Original G34/H34 still use the 2020-revenue scaling method.
PyPSA_* | B8,B9,B11,B12,B13,B17:G17,F29,F30,I29,I30,B29 | (unchanged) | Original Excel assumptions | WACC 5.4%, lifetime 42, starting RAB 700 bn, OPEX method, 2020 volumes, today's 53 EUR/MWh.
PyPSA_* | Rows 16,18-24 | (formulas unchanged) | Original Excel | Opening RAB, depreciation, new RAB, MAR, OPEX, ratios.
Original_Sheet1 / Sheet1 | (all) | (untouched copy of the original model) | Original workbook | Original Excel result; do not use for PyPSA cases.

## Sheet1
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 878.7699 | 929.8468 | 979.7076 | 1028.3812 | 1075.896 | 1123.4107 | 1170.9254 | 1218.4402 | 1265.9549 | 1313.4696 | 1360.9844 | 1408.4991 | 1456.0138 | 1503.5285 | 1551.0433 | 1586.558 | 1622.0727 | 1657.5875 | 1693.1022 | 1728.6169 | 1764.1317 | 1799.6464 | 1835.1611 | 1870.6759 | 1906.1906 | 1941.7053 | 1977.2201 | 2012.7348 | 2048.2495 | 2083.7643 | 2119.279 | 2154.7937 | 2190.3085 | 2225.8232 | 2261.3379 | 2296.8527 | 2332.3674 | 2367.8821 | 2403.3969
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.9231 | 22.1392 | 23.3264 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 878.7699 | 929.8468 | 979.7076 | 1028.3812 | 1075.896 | 1123.4107 | 1170.9254 | 1218.4402 | 1265.9549 | 1313.4696 | 1360.9844 | 1408.4991 | 1456.0138 | 1503.5285 | 1551.0433 | 1586.558 | 1622.0727 | 1657.5875 | 1693.1022 | 1728.6169 | 1764.1317 | 1799.6464 | 1835.1611 | 1870.6759 | 1906.1906 | 1941.7053 | 1977.2201 | 2012.7348 | 2048.2495 | 2083.7643 | 2119.279 | 2154.7937 | 2190.3085 | 2225.8232 | 2261.3379 | 2296.8527 | 2332.3674 | 2367.8821 | 2403.3969 | 2438.9116
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 68.1935 | 72.2647 | 76.2389 | 80.1186 | 83.9059 | 86.4716 | 89.0374 | 91.6032 | 94.169 | 96.7348 | 99.3006 | 101.8664 | 104.4322 | 106.998 | 109.5638 | 111.4816 | 113.3994 | 115.3172 | 117.235 | 119.1528 | 121.0706 | 122.9884 | 124.9062 | 126.824 | 128.7418 | 130.6596 | 132.5774 | 134.4952 | 136.4129 | 138.3307 | 140.2485 | 142.1663 | 144.0841 | 146.0019 | 147.9197 | 149.8375 | 151.7553 | 153.6731 | 155.5909 | 157.5087
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705 | 69.0542 | 69.7447 | 70.4422 | 71.1466 | 71.8581 | 72.5767 | 73.3024 | 74.0355 | 74.7758 | 75.5236 | 76.2788 | 77.0416 | 77.812 | 78.5901 | 79.376 | 80.1698 | 80.9715 | 81.7812 | 82.599 | 83.425 | 84.2593 | 85.1018 | 85.9529 | 86.8124 | 87.6805
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 127.6733 | 132.3393 | 136.9143 | 141.4007 | 145.8008 | 148.9855 | 152.1765 | 155.3736 | 158.5771 | 161.787 | 165.0033 | 168.2262 | 171.4556 | 174.6916 | 177.9343 | 180.5358 | 183.1441 | 185.7594 | 188.3816 | 191.0109 | 193.6472 | 196.2908 | 198.9416 | 201.5998 | 204.2653 | 206.9384 | 209.6189 | 212.3072 | 215.0031 | 217.7068 | 220.4183 | 223.1378 | 225.8653 | 228.6009 | 231.3447 | 234.0968 | 236.8572 | 239.626 | 242.4033 | 245.1892
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1393 | 1.1809 | 1.2217 | 1.2618 | 1.301 | 1.3295 | 1.3579 | 1.3865 | 1.415 | 1.4437 | 1.4724 | 1.5011 | 1.53 | 1.5588 | 1.5878 | 1.611 | 1.6343 | 1.6576 | 1.681 | 1.7045 | 1.728 | 1.7516 | 1.7752 | 1.7989 | 1.8227 | 1.8466 | 1.8705 | 1.8945 | 1.9186 | 1.9427 | 1.9669 | 1.9911 | 2.0155 | 2.0399 | 2.0644 | 2.0889 | 2.1136 | 2.1383 | 2.1631 | 2.1879
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.53412 | 0.54606 | 0.55684 | 0.56661 | 0.57548 | 0.5804 | 0.58509 | 0.58957 | 0.59384 | 0.59791 | 0.60181 | 0.60553 | 0.60909 | 0.6125 | 0.61575 | 0.6175 | 0.61918 | 0.62079 | 0.62233 | 0.6238 | 0.62521 | 0.62656 | 0.62785 | 0.62909 | 0.63027 | 0.63139 | 0.63247 | 0.63349 | 0.63447 | 0.6354 | 0.63628 | 0.63712 | 0.63792 | 0.63868 | 0.63939 | 0.64007 | 0.6407 | 0.6413 | 0.64187 | 0.6424
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3721.7576 | 4188.0028 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2977.4061 | 3350.4022 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.4372 | 1.6173 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.301 | 1.5878 | 1.8227
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 142.8743 | 174.3629 | 200.1654
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 47.9862 | 52.0424 | 54.041
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189

## Sheet1 (2)
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB | 700 | 711.6429 | 725.9371 | 742.8195 | 760.2762 | 781.222 | 821.1929 | 871.9264 | 921.452 | 969.7984 | 1016.9936 | 1063.0652 | 1108.0399 | 1151.9437 | 1194.8022 | 1236.6402 | 1277.4821 | 1317.3516 | 1356.2718 | 1394.2653 | 1431.3542 | 1467.5601 | 1491.1896 | 1514.2565 | 1536.7742 | 1558.7558 | 1580.214 | 1601.1613 | 1621.6098 | 1641.5715 | 1661.0579 | 1680.0803 | 1698.6498 | 1716.7772 | 1734.473 | 1751.7474 | 1768.6106 | 1785.0722 | 1801.142 | 1816.829 | 1832.1426 | 1847.0916 | 1861.6847 | 1875.9303 | 1889.8367 | 1903.412
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation | 17.3571 | 17.7058 | 18.1175 | 18.5433 | 19.0542 | 20.0291 | 21.2665 | 22.4744 | 23.6536 | 24.8047 | 25.9284 | 27.0254 | 28.0962 | 29.1415 | 30.162 | 31.1581 | 32.1305 | 33.0798 | 34.0065 | 34.9111 | 35.7941 | 36.3705 | 36.9331 | 37.4823 | 38.0184 | 38.5418 | 39.0527 | 39.5515 | 40.0383 | 40.5136 | 40.9776 | 41.4305 | 41.8726 | 42.3042 | 42.7255 | 43.1368 | 43.5383 | 43.9303 | 44.3129 | 44.6864 | 45.051 | 45.4069 | 45.7544 | 46.0936 | 46.4247 | 46.7479
New RAB | 711.6429 | 725.9371 | 742.8195 | 760.2762 | 781.222 | 821.1929 | 871.9264 | 921.452 | 969.7984 | 1016.9936 | 1063.0652 | 1108.0399 | 1151.9437 | 1194.8022 | 1236.6402 | 1277.4821 | 1317.3516 | 1356.2718 | 1394.2653 | 1431.3542 | 1467.5601 | 1491.1896 | 1514.2565 | 1536.7742 | 1558.7558 | 1580.214 | 1601.1613 | 1621.6098 | 1641.5715 | 1661.0579 | 1680.0803 | 1698.6498 | 1716.7772 | 1734.473 | 1751.7474 | 1768.6106 | 1785.0722 | 1801.142 | 1816.829 | 1832.1426 | 1847.0916 | 1861.6847 | 1875.9303 | 1889.8367 | 1903.412 | 1916.6641
Max allowable Revenue CAPEX | 56.7231 | 57.8625 | 59.2082 | 60.5996 | 62.2691 | 65.4551 | 69.4989 | 73.4465 | 77.3 | 81.0618 | 84.7341 | 88.3189 | 91.8183 | 95.2345 | 98.5693 | 101.8247 | 105.0026 | 108.1048 | 111.1331 | 114.0894 | 116.9753 | 118.8587 | 120.6973 | 122.4921 | 124.2442 | 125.9546 | 127.6243 | 129.2542 | 130.8453 | 132.3985 | 133.9147 | 135.3948 | 136.8397 | 138.2502 | 139.6271 | 140.9712 | 142.2833 | 143.5642 | 144.8146 | 146.0352 | 147.2267 | 148.3899 | 149.5254 | 150.6338 | 151.7159 | 152.7722
OPEX | 56.7231 | 57.2904 | 57.8633 | 58.4419 | 59.0263 | 59.6166 | 60.2128 | 60.8149 | 61.423 | 62.0373 | 62.6576 | 63.2842 | 63.9171 | 64.5562 | 65.2018 | 65.8538 | 66.5123 | 67.1775 | 67.8492 | 68.5277 | 69.213 | 69.9051 | 70.6042 | 71.3102 | 72.0233 | 72.7436 | 73.471 | 74.2057 | 74.9478 | 75.6973 | 76.4542 | 77.2188 | 77.991 | 78.7709 | 79.5586 | 80.3542 | 81.1577 | 81.9693 | 82.789 | 83.6169 | 84.453 | 85.2976 | 86.1505 | 87.012 | 87.8822 | 88.761
Max allowable Revenue | 113.4463 | 115.1529 | 117.0714 | 119.0415 | 121.2954 | 125.0717 | 129.7117 | 134.2614 | 138.7231 | 143.0991 | 147.3917 | 151.6031 | 155.7354 | 159.7907 | 163.7711 | 167.6785 | 171.5149 | 175.2823 | 178.9824 | 182.6171 | 186.1883 | 188.7639 | 191.3015 | 193.8024 | 196.2676 | 198.6982 | 201.0953 | 203.4599 | 205.793 | 208.0957 | 210.3689 | 212.6136 | 214.8307 | 217.0211 | 219.1857 | 221.3254 | 223.441 | 225.5335 | 227.6035 | 229.652 | 231.6797 | 233.6875 | 235.6759 | 237.6459 | 239.598 | 241.5331
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.032 | 1.0493 | 1.0692 | 1.1025 | 1.1434 | 1.1835 | 1.2228 | 1.2614 | 1.2992 | 1.3363 | 1.3728 | 1.4085 | 1.4436 | 1.478 | 1.5119 | 1.5451 | 1.5777 | 1.6097 | 1.6412 | 1.6639 | 1.6863 | 1.7083 | 1.73 | 1.7515 | 1.7726 | 1.7934 | 1.814 | 1.8343 | 1.8543 | 1.8741 | 1.8937 | 1.913 | 1.9321 | 1.9509 | 1.9696 | 1.988 | 2.0063 | 2.0243 | 2.0422 | 2.0599 | 2.0774 | 2.0948 | 2.112 | 2.1291
| 0.5 | 0.50248 | 0.50574 | 0.50906 | 0.51337 | 0.52334 | 0.5358 | 0.54704 | 0.55723 | 0.56647 | 0.57489 | 0.58257 | 0.58958 | 0.596 | 0.60187 | 0.60726 | 0.61221 | 0.61675 | 0.62092 | 0.62475 | 0.62826 | 0.62967 | 0.63093 | 0.63205 | 0.63303 | 0.6339 | 0.63465 | 0.63528 | 0.63581 | 0.63624 | 0.63657 | 0.63681 | 0.63697 | 0.63704 | 0.63703 | 0.63694 | 0.63678 | 0.63655 | 0.63626 | 0.6359 | 0.63548 | 0.63499 | 0.63445 | 0.63386 | 0.63321 | 0.63251
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3721.7576 | 4188.0028 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2977.4061 | 3350.4022 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.4372 | 1.6173 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.2992 | 1.6412 | 1.8543
Check error against Max Allowable Revenue from revenue model | -3.306% |  |  | revenue | 109.816 | 142.6752 | 180.2303 | 203.6371
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 47.9193 | 53.7936 | 54.9783
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189

## Original_Sheet1
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 878.7699 | 929.8468 | 979.7076 | 1028.3812 | 1075.896 | 1123.4107 | 1170.9254 | 1218.4402 | 1265.9549 | 1313.4696 | 1360.9844 | 1408.4991 | 1456.0138 | 1503.5285 | 1551.0433 | 1586.558 | 1622.0727 | 1657.5875 | 1693.1022 | 1728.6169 | 1764.1317 | 1799.6464 | 1835.1611 | 1870.6759 | 1906.1906 | 1941.7053 | 1977.2201 | 2012.7348 | 2048.2495 | 2083.7643 | 2119.279 | 2154.7937 | 2190.3085 | 2225.8232 | 2261.3379 | 2296.8527 | 2332.3674 | 2367.8821 | 2403.3969
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.9231 | 22.1392 | 23.3264 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 878.7699 | 929.8468 | 979.7076 | 1028.3812 | 1075.896 | 1123.4107 | 1170.9254 | 1218.4402 | 1265.9549 | 1313.4696 | 1360.9844 | 1408.4991 | 1456.0138 | 1503.5285 | 1551.0433 | 1586.558 | 1622.0727 | 1657.5875 | 1693.1022 | 1728.6169 | 1764.1317 | 1799.6464 | 1835.1611 | 1870.6759 | 1906.1906 | 1941.7053 | 1977.2201 | 2012.7348 | 2048.2495 | 2083.7643 | 2119.279 | 2154.7937 | 2190.3085 | 2225.8232 | 2261.3379 | 2296.8527 | 2332.3674 | 2367.8821 | 2403.3969 | 2438.9116
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 68.1935 | 72.2647 | 76.2389 | 80.1186 | 83.9059 | 86.4716 | 89.0374 | 91.6032 | 94.169 | 96.7348 | 99.3006 | 101.8664 | 104.4322 | 106.998 | 109.5638 | 111.4816 | 113.3994 | 115.3172 | 117.235 | 119.1528 | 121.0706 | 122.9884 | 124.9062 | 126.824 | 128.7418 | 130.6596 | 132.5774 | 134.4952 | 136.4129 | 138.3307 | 140.2485 | 142.1663 | 144.0841 | 146.0019 | 147.9197 | 149.8375 | 151.7553 | 153.6731 | 155.5909 | 157.5087
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705 | 69.0542 | 69.7447 | 70.4422 | 71.1466 | 71.8581 | 72.5767 | 73.3024 | 74.0355 | 74.7758 | 75.5236 | 76.2788 | 77.0416 | 77.812 | 78.5901 | 79.376 | 80.1698 | 80.9715 | 81.7812 | 82.599 | 83.425 | 84.2593 | 85.1018 | 85.9529 | 86.8124 | 87.6805
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 127.6733 | 132.3393 | 136.9143 | 141.4007 | 145.8008 | 148.9855 | 152.1765 | 155.3736 | 158.5771 | 161.787 | 165.0033 | 168.2262 | 171.4556 | 174.6916 | 177.9343 | 180.5358 | 183.1441 | 185.7594 | 188.3816 | 191.0109 | 193.6472 | 196.2908 | 198.9416 | 201.5998 | 204.2653 | 206.9384 | 209.6189 | 212.3072 | 215.0031 | 217.7068 | 220.4183 | 223.1378 | 225.8653 | 228.6009 | 231.3447 | 234.0968 | 236.8572 | 239.626 | 242.4033 | 245.1892
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1393 | 1.1809 | 1.2217 | 1.2618 | 1.301 | 1.3295 | 1.3579 | 1.3865 | 1.415 | 1.4437 | 1.4724 | 1.5011 | 1.53 | 1.5588 | 1.5878 | 1.611 | 1.6343 | 1.6576 | 1.681 | 1.7045 | 1.728 | 1.7516 | 1.7752 | 1.7989 | 1.8227 | 1.8466 | 1.8705 | 1.8945 | 1.9186 | 1.9427 | 1.9669 | 1.9911 | 2.0155 | 2.0399 | 2.0644 | 2.0889 | 2.1136 | 2.1383 | 2.1631 | 2.1879
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.53412 | 0.54606 | 0.55684 | 0.56661 | 0.57548 | 0.5804 | 0.58509 | 0.58957 | 0.59384 | 0.59791 | 0.60181 | 0.60553 | 0.60909 | 0.6125 | 0.61575 | 0.6175 | 0.61918 | 0.62079 | 0.62233 | 0.6238 | 0.62521 | 0.62656 | 0.62785 | 0.62909 | 0.63027 | 0.63139 | 0.63247 | 0.63349 | 0.63447 | 0.6354 | 0.63628 | 0.63712 | 0.63792 | 0.63868 | 0.63939 | 0.64007 | 0.6407 | 0.6413 | 0.64187 | 0.6424
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3721.7576 | 4188.0028 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2977.4061 | 3350.4022 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.4372 | 1.6173 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.301 | 1.5878 | 1.8227
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 142.8743 | 174.3629 | 200.1654
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 47.9862 | 52.0424 | 54.041
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189

## PyPSA_Build
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 878.7699 | 929.8468 | 979.7076 | 1028.3812 | 1075.896 | 1123.4107 | 1170.9254 | 1218.4402 | 1265.9549 | 1313.4696 | 1360.9844 | 1408.4991 | 1456.0138 | 1503.5285
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.9231 | 22.1392 | 23.3264 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853 | 24.4853
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 878.7699 | 929.8468 | 979.7076 | 1028.3812 | 1075.896 | 1123.4107 | 1170.9254 | 1218.4402 | 1265.9549 | 1313.4696 | 1360.9844 | 1408.4991 | 1456.0138 | 1503.5285 | 1551.0433
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 68.1935 | 72.2647 | 76.2389 | 80.1186 | 83.9059 | 86.4716 | 89.0374 | 91.6032 | 94.169 | 96.7348 | 99.3006 | 101.8664 | 104.4322 | 106.998 | 109.5638
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 127.6733 | 132.3393 | 136.9143 | 141.4007 | 145.8008 | 148.9855 | 152.1765 | 155.3736 | 158.5771 | 161.787 | 165.0033 | 168.2262 | 171.4556 | 174.6916 | 177.9343
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1393 | 1.1809 | 1.2217 | 1.2618 | 1.301 | 1.3295 | 1.3579 | 1.3865 | 1.415 | 1.4437 | 1.4724 | 1.5011 | 1.53 | 1.5588 | 1.5878
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.53412 | 0.54606 | 0.55684 | 0.56661 | 0.57548 | 0.5804 | 0.58509 | 0.58957 | 0.59384 | 0.59791 | 0.60181 | 0.60553 | 0.60909 | 0.6125 | 0.61575
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3082.4035 | 3927.2037 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 3082.4035 | 3927.2037 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.4879 | 1.8957 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.301 | 1.5878 | 0
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 142.8743 | 174.3629 | 0
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 46.3516 | 44.3987 | 0
|  |  |  | Direct DSO tariff MAR/TWh (EUR/MWh) | 54.0947 | 47.301 | 45.3081
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189
PyPSA scenario Build: Build CAPEX = original Excel trajectory. This sheet CAPEX 2026-2030 = Excel × 1.0000; 2031-2040 = Excel × 1.0000 (PyPSA DSO overnight / Build). Absolute PyPSA overnight is not injected. G30/H30 are scenario HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged. RAB/WACC/OPEX formulas unchanged.

## PyPSA_85pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 867.97 | 908.5041 | 948.0732 | 986.7001 | 1024.4073 | 1062.1106 | 1099.8138 | 1137.517 | 1175.2203 | 1212.9235 | 1250.6267 | 1288.3299 | 1326.0332 | 1363.7364
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 61.2001 | 61.2001 | 61.2001 | 61.2001 | 61.2001 | 61.1961 | 61.1961 | 61.1961 | 61.1961 | 61.1961 | 61.1961 | 61.1961 | 61.1961 | 61.1961 | 61.1961
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.666 | 21.6311 | 22.5732 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929 | 23.4929
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 867.97 | 908.5041 | 948.0732 | 986.7001 | 1024.4073 | 1062.1106 | 1099.8138 | 1137.517 | 1175.2203 | 1212.9235 | 1250.6267 | 1288.3299 | 1326.0332 | 1363.7364 | 1401.4396
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 67.6103 | 70.8411 | 73.9951 | 77.0739 | 80.0795 | 82.1154 | 84.1514 | 86.1874 | 88.2234 | 90.2593 | 92.2953 | 94.3313 | 96.3673 | 98.4032 | 100.4392
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 127.0901 | 130.9157 | 134.6704 | 138.356 | 141.9744 | 144.6293 | 147.2904 | 149.9578 | 152.6315 | 155.3115 | 157.998 | 160.691 | 163.3906 | 166.0968 | 168.8097
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1341 | 1.1682 | 1.2017 | 1.2346 | 1.2669 | 1.2906 | 1.3143 | 1.3381 | 1.362 | 1.3859 | 1.4099 | 1.4339 | 1.458 | 1.4821 | 1.5064
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.53199 | 0.54112 | 0.54945 | 0.55707 | 0.56404 | 0.56776 | 0.57133 | 0.57474 | 0.57802 | 0.58115 | 0.58415 | 0.58704 | 0.5898 | 0.59245 | 0.59498
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2846.5799 | 3735.2676 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2846.5799 | 3735.2676 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.3741 | 1.803 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.2669 | 1.5064 | 0
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 139.1247 | 165.4214 | 0
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 48.8743 | 44.2864 | 0
|  |  |  | Direct DSO tariff MAR/TWh (EUR/MWh) | 54.0947 | 49.8754 | 45.1935
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189
PyPSA scenario 85%: Build CAPEX = original Excel trajectory. This sheet CAPEX 2026-2030 = Excel × 0.8500; 2031-2040 = Excel × 0.8499 (PyPSA DSO overnight / Build). Absolute PyPSA overnight is not injected. G30/H30 are scenario HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged. RAB/WACC/OPEX formulas unchanged.

## PyPSA_75pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 860.7714 | 894.2783 | 926.9875 | 958.9179 | 990.088 | 1021.255 | 1052.4219 | 1083.5889 | 1114.7559 | 1145.9228 | 1177.0898 | 1208.2568 | 1239.4237 | 1270.5907
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 54.0015 | 54.0015 | 54.0015 | 54.0015 | 54.0015 | 53.9983 | 53.9983 | 53.9983 | 53.9983 | 53.9983 | 53.9983 | 53.9983 | 53.9983 | 53.9983 | 53.9983
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.4946 | 21.2923 | 22.0711 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314 | 22.8314
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 860.7714 | 894.2783 | 926.9875 | 958.9179 | 990.088 | 1021.255 | 1052.4219 | 1083.5889 | 1114.7559 | 1145.9228 | 1177.0898 | 1208.2568 | 1239.4237 | 1270.5907 | 1301.7577
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 67.2215 | 69.8923 | 72.4995 | 75.0445 | 77.529 | 79.212 | 80.8951 | 82.5781 | 84.2611 | 85.9441 | 87.6271 | 89.3101 | 90.9932 | 92.6762 | 94.3592
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 126.7013 | 129.9669 | 133.1748 | 136.3266 | 139.4239 | 141.7259 | 144.0341 | 146.3485 | 148.6692 | 150.9963 | 153.3298 | 155.6699 | 158.0165 | 160.3697 | 162.7297
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1306 | 1.1597 | 1.1884 | 1.2165 | 1.2441 | 1.2647 | 1.2853 | 1.3059 | 1.3266 | 1.3474 | 1.3682 | 1.3891 | 1.41 | 1.431 | 1.4521
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.53055 | 0.53777 | 0.54439 | 0.55048 | 0.55607 | 0.55891 | 0.56164 | 0.56426 | 0.56677 | 0.56918 | 0.57149 | 0.57371 | 0.57585 | 0.57789 | 0.57985
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2541.8971 | 3536.5811 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2541.8971 | 3536.5811 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.227 | 1.7071 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.2441 | 1.4521 | 0
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 136.6255 | 159.4634 | 0
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 53.7494 | 45.0897 | 0
|  |  |  | Direct DSO tariff MAR/TWh (EUR/MWh) | 54.0947 | 54.8504 | 46.0133
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189
PyPSA scenario 75%: Build CAPEX = original Excel trajectory. This sheet CAPEX 2026-2030 = Excel × 0.7500; 2031-2040 = Excel × 0.7500 (PyPSA DSO overnight / Build). Absolute PyPSA overnight is not injected. G30/H30 are scenario HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged. RAB/WACC/OPEX formulas unchanged.

## PyPSA_65pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 853.5704 | 880.0478 | 905.8948 | 931.1264 | 955.7573 | 980.3882 | 1005.0191 | 1029.65 | 1054.2809 | 1078.9118 | 1103.5427 | 1128.1736 | 1152.8045 | 1177.4354
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 46.8005 | 46.8005 | 46.8005 | 46.8005 | 46.8005 | 46.8006 | 46.8006 | 46.8006 | 46.8006 | 46.8006 | 46.8006 | 46.8006 | 46.8006 | 46.8006 | 46.8006
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.3231 | 20.9535 | 21.5689 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697 | 22.1697
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 853.5704 | 880.0478 | 905.8948 | 931.1264 | 955.7573 | 980.3882 | 1005.0191 | 1029.65 | 1054.2809 | 1078.9118 | 1103.5427 | 1128.1736 | 1152.8045 | 1177.4354 | 1202.0663
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 66.8327 | 68.9431 | 71.0033 | 73.0145 | 74.9777 | 76.3078 | 77.6379 | 78.9679 | 80.298 | 81.6281 | 82.9581 | 84.2882 | 85.6183 | 86.9483 | 88.2784
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 126.3125 | 129.0177 | 131.6787 | 134.2966 | 136.8727 | 138.8217 | 140.7769 | 142.7383 | 144.7061 | 146.6803 | 148.6609 | 150.6479 | 152.6416 | 154.6419 | 156.6489
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1271 | 1.1513 | 1.175 | 1.1984 | 1.2214 | 1.2388 | 1.2562 | 1.2737 | 1.2913 | 1.3089 | 1.3266 | 1.3443 | 1.3621 | 1.3799 | 1.3978
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.52911 | 0.53437 | 0.53922 | 0.54368 | 0.54779 | 0.54968 | 0.5515 | 0.55324 | 0.5549 | 0.5565 | 0.55804 | 0.5595 | 0.56091 | 0.56226 | 0.56354
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2364.0228 | 3331.3121 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2364.0228 | 3331.3121 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 1.1411 | 1.608 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.2214 | 1.3978 | 0
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 134.1254 | 153.5047 | 0
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 56.7361 | 46.0794 | 0
|  |  |  | Direct DSO tariff MAR/TWh (EUR/MWh) | 54.0947 | 57.8982 | 47.0232
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189
PyPSA scenario 65%: Build CAPEX = original Excel trajectory. This sheet CAPEX 2026-2030 = Excel × 0.6500; 2031-2040 = Excel × 0.6500 (PyPSA DSO overnight / Build). Absolute PyPSA overnight is not injected. G30/H30 are scenario HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged. RAB/WACC/OPEX formulas unchanged.

## PyPSA_50pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate | 2.381% |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Opening RAB | 700 | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 842.7701 | 858.7044 | 874.2593 | 889.4438 | 904.2668 | 919.0885 | 933.9101 | 948.7318 | 963.5535 | 978.3751 | 993.1968 | 1008.0184 | 1022.8401 | 1037.6618
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 36.0002 | 36.0002 | 36.0002 | 36.0002 | 36.0002 | 35.9989 | 35.9989 | 35.9989 | 35.9989 | 35.9989 | 35.9989 | 35.9989 | 35.9989 | 35.9989 | 35.9989
Depreciation | 16.6667 | 16.9603 | 17.3184 | 17.7394 | 18.1742 | 18.6938 | 19.6773 | 20.066 | 20.4453 | 20.8157 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772 | 21.1772
New RAB | 712.3333 | 727.373 | 745.0546 | 763.3152 | 785.141 | 826.4472 | 842.7701 | 858.7044 | 874.2593 | 889.4438 | 904.2668 | 919.0885 | 933.9101 | 948.7318 | 963.5535 | 978.3751 | 993.1968 | 1008.0184 | 1022.8401 | 1037.6618 | 1052.4834
Max allowable Revenue CAPEX | 56.0327 | 57.1543 | 58.4865 | 59.9163 | 61.5532 | 64.3315 | 66.2495 | 67.5196 | 68.7594 | 69.9697 | 71.1512 | 71.9516 | 72.752 | 73.5523 | 74.3527 | 75.1531 | 75.9534 | 76.7538 | 77.5542 | 78.3545 | 79.1549
OPEX | 56.0327 | 56.593 | 57.1589 | 57.7305 | 58.3078 | 58.8909 | 59.4798 | 60.0746 | 60.6753 | 61.2821 | 61.8949 | 62.5139 | 63.139 | 63.7704 | 64.4081 | 65.0522 | 65.7027 | 66.3597 | 67.0233 | 67.6936 | 68.3705
Max allowable Revenue | 112.0653 | 113.7473 | 115.6455 | 117.6469 | 119.861 | 123.2223 | 125.7293 | 127.5942 | 129.4347 | 131.2518 | 133.0461 | 134.4655 | 135.891 | 137.3227 | 138.7608 | 140.2052 | 141.6561 | 143.1135 | 144.5775 | 146.0481 | 147.5254
Ratio tariff impact (normalised to 2020) | 1 | 1.015 | 1.0319 | 1.0498 | 1.0696 | 1.0996 | 1.1219 | 1.1386 | 1.155 | 1.1712 | 1.1872 | 1.1999 | 1.2126 | 1.2254 | 1.2382 | 1.2511 | 1.264 | 1.2771 | 1.2901 | 1.3032 | 1.3164
| 0.5 | 0.50247 | 0.50574 | 0.50929 | 0.51354 | 0.52208 | 0.52692 | 0.52917 | 0.53123 | 0.5331 | 0.53479 | 0.53509 | 0.53537 | 0.53562 | 0.53583 | 0.53602 | 0.53618 | 0.53631 | 0.53642 | 0.5365 | 0.53655
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2041.081 | 2995.9775 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO | 2071.6522 | 2041.081 | 2995.9775 | 3703.9552
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption | 1 | 0.98524 | 1.4462 | 1.7879
Estimated DSO revenue | 109.816 | billion EUR |  | Ratio revenue | 1 | 1.1872 | 1.3164 | 0
Check error against Max Allowable Revenue from revenue model | -2.048% |  |  | revenue | 109.816 | 130.3757 | 144.5643 | 0
|  |  |  | distribution charges (EUR/MWh) | 53.0089 | 63.8758 | 48.2528 | 0
|  |  |  | Direct DSO tariff MAR/TWh (EUR/MWh) | 54.0947 | 65.1842 | 49.2412
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022 | [5 empty] | 105.6
234
63.2432
1.82
1.7876
1.0181
1.0189
PyPSA scenario 50%: Build CAPEX = original Excel trajectory. This sheet CAPEX 2026-2030 = Excel × 0.5000; 2031-2040 = Excel × 0.5000 (PyPSA DSO overnight / Build). Absolute PyPSA overnight is not injected. G30/H30 are scenario HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged. RAB/WACC/OPEX formulas unchanged.