## Inputs_PyPSA
Raw quantities extracted from solved PyPSA networks
DSO assets: costed links with carrier 'electricity distribution grid' (capital_cost > 0). Overnight CAPEX = new MW × 667901.6 EUR/MW (EUR2015).
run | scenario | cap_fraction | year | costed_dso_links | new_dso_capacity_gw | installed_dso_stock_gw | overnight_investment_eur_per_mw | overnight_capex_eur | overnight_capex_bn_eur | annualised_new_capex_bn_eur_per_yr | dso_capital_cost_eur_per_mw_yr | dso_lifetime_years | dso_fom_percent | dso_discount_rate | dso_currency_year | dso_delivered_hv_to_lv_twh | lv_electric_load_twh | heat_pump_electricity_twh | resistive_heater_electricity_twh | bev_electricity_twh | electrified_lv_demand_twh | electrified_lv_demand_served_twh | lv_load_shedding_twh | solar_rooftop_twh | old_proxy_dso_tariff_eur_per_mwh | old_proxy_vs_incomplete_lv_demand_eur_per_mwh
grid-build-2040 | Build | 1 | 2030 | 37 | 483.2552 | 483.2552 | 667901.6 | 322766938264.314 | 322.7669 | 30.6658 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3082.4035 | 2875.5288 | 630.7309 | 113.3945 | 186.414 | 3806.0682 | 3806.0677 | 0.00056053 | 722.2663 | 8.0571 | 9.6575
grid-inaction-2040-mild85 | 85% | 0.85 | 2030 | 37 | 410.7676 | 410.7676 | 667901.6 | 274352316376.9057 | 274.3523 | 26.066 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2846.5799 | 2875.5288 | 501.3024 | 107.1826 | 189.2017 | 3673.2155 | 3673.2149 | 0.00060517 | 819.6975 | 7.0962 | 8.2177
grid-inaction-2040-mild75 | 75% | 0.75 | 2030 | 37 | 362.4515 | 362.4515 | 667901.6 | 242081943461.6116 | 242.0819 | 23 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2541.8971 | 2875.5288 | 438.3332 | 132.0744 | 179.7559 | 3625.6923 | 3625.5984 | 0.093894 | 1092.181 | 6.3438 | 7.2162
grid-inaction-2040-mild65 | 65% | 0.65 | 2030 | 37 | 314.1194 | 314.1194 | 667901.6 | 209800863646.1051 | 209.8009 | 19.933 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2364.0228 | 2875.5288 | 378.9412 | 83.06 | 162.3333 | 3499.8632 | 3498.7912 | 1.0721 | 1158.9366 | 5.6971 | 6.3891
grid-inaction-2040-moderate | 50% | 0.5 | 2030 | 37 | 241.6291 | 241.6291 | 667901.6 | 161384473564.7978 | 161.3845 | 15.333 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2041.081 | 2875.5288 | 287.3587 | 16.7425 | 107.039 | 3286.669 | 3178.2886 | 108.3804 | 1160.8741 | 4.8243 | 5.3038
grid-build-2040 | Build | 1 | 2040 | 74 | 223.5291 | 706.7844 | 667901.6 | 149295466702.6022 | 149.2955 | 14.1844 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3927.2037 | 3297.5119 | 876.7947 | 280.2599 | 503.974 | 4958.5405 | 4958.5401 | 0.00036578 | 1025.653 | 9.045 | 10.988
grid-inaction-2040-mild85 | 85% | 0.85 | 2040 | 74 | 189.9876 | 600.7552 | 667901.6 | 126893039034.8177 | 126.893 | 12.056 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3735.2676 | 3297.5119 | 851.1124 | 192.1249 | 498.5991 | 4839.3484 | 4839.3481 | 0.00033777 | 1101.4286 | 7.8775 | 9.5586
grid-inaction-2040-mild75 | 75% | 0.75 | 2040 | 74 | 167.6417 | 530.0932 | 667901.6 | 111968167759.0624 | 111.9682 | 10.638 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3536.5811 | 3297.5119 | 784.0447 | 114.2403 | 486.7458 | 4682.5426 | 4682.5422 | 0.00042793 | 1155.5472 | 7.1837 | 8.6285
grid-inaction-2040-mild65 | 65% | 0.65 | 2040 | 74 | 145.2957 | 459.4151 | 667901.6 | 97043241758.2942 | 97.0432 | 9.22 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 3331.3121 | 3297.5119 | 644.6638 | 52.3447 | 470.9787 | 4465.4992 | 4465.4988 | 0.0003612 | 1160.6006 | 6.5285 | 7.63
grid-inaction-2040-moderate | 50% | 0.5 | 2040 | 74 | 111.7611 | 353.3903 | 667901.6 | 74645450817.0636 | 74.6455 | 7.092 | 63456.7559 | 40 | 2 | 0.07 | 2015 | 2995.9775 | 3297.5119 | 472.9268 | 2.2229 | 390.0308 | 4162.6925 | 4127.3323 | 35.3601 | 1160.898 | 5.4333 | 6.1364

## Mapping
Excel sheet | Cell/range | Quantity written | Source | Notes
PyPSA_* | H17:L17 (2026-2030) | 2030 overnight CAPEX / 5 (bn EUR/yr) | costed DSO (p_nom_opt - p_nom) × investment | Replaces generic 72. Original 2020-2025 CAPEX kept.
PyPSA_* | M17:V17 (2031-2040) | 2040 overnight CAPEX / 10 (bn EUR/yr) | 2040 cohort only; 2030 brownfield not recounted | Replaces generic 72.
PyPSA_* | W17:AN17 (2041+) | (unchanged) | Original Excel | No PyPSA 2050 network; left as original 60 bn/yr.
PyPSA_* | G30 | 2030 DSO HV→LV delivery (TWh) | weighted -min(p1,0) on costed DSO links | Overwrites formula G29*$B$31 so the 80% DSO-share is NOT applied to PyPSA.
PyPSA_* | H30 | 2040 DSO HV→LV delivery (TWh) | same | Same 80% caveat.
PyPSA_* | G35 / H35 | Direct DSO tariff = MAR × 1000 / TWh DSO | L22 / V22 and G30 / H30 | This is allowable revenue / distributed electricity. Original G34/H34 still use the 2020-revenue scaling method.
PyPSA_* | B8,B9,B11,B12,B13,B17:G17,F29,F30,I29,I30,B29 | (unchanged) | Original Excel assumptions | WACC 5.4%, lifetime 42, starting RAB 700 bn, OPEX method, 2020 volumes, today's 53 EUR/MWh.
PyPSA_* | Rows 16,18-24 | (formulas unchanged) | Original Excel | Opening RAB, depreciation, new RAB, MAR, OPEX, ratios.

## Sheet1
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3721.7576 | 4188.0028 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## Sheet1 (2)
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3721.7576 | 4188.0028 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## Original_Sheet1
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3721.7576 | 4188.0028 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## PyPSA_Build
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 64.5534 | 64.5534 | 64.5534 | 64.5534 | 64.5534 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 14.9295 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 3082.4035 | 3927.2037 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO |  | 3082.4035 | 3927.2037
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Direct DSO tariff MAR/TWh (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
PyPSA scenario Build: 2026-2030 CAPEX = 2030 overnight/5; 2031-2040 CAPEX = 2040 incremental overnight/10 (EUR2015). G30/H30 are DSO HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged.
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## PyPSA_85pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 54.8705 | 54.8705 | 54.8705 | 54.8705 | 54.8705 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 12.6893 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2846.5799 | 3735.2676 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO |  | 2846.5799 | 3735.2676
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Direct DSO tariff MAR/TWh (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
PyPSA scenario 85%: 2026-2030 CAPEX = 2030 overnight/5; 2031-2040 CAPEX = 2040 incremental overnight/10 (EUR2015). G30/H30 are DSO HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged.
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## PyPSA_75pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 48.4164 | 48.4164 | 48.4164 | 48.4164 | 48.4164 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 11.1968 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2541.8971 | 3536.5811 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO |  | 2541.8971 | 3536.5811
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Direct DSO tariff MAR/TWh (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
PyPSA scenario 75%: 2026-2030 CAPEX = 2030 overnight/5; 2031-2040 CAPEX = 2040 incremental overnight/10 (EUR2015). G30/H30 are DSO HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged.
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## PyPSA_65pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 41.9602 | 41.9602 | 41.9602 | 41.9602 | 41.9602 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 9.7043 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2364.0228 | 3331.3121 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO |  | 2364.0228 | 3331.3121
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Direct DSO tariff MAR/TWh (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
PyPSA scenario 65%: 2026-2030 CAPEX = 2030 overnight/5; 2031-2040 CAPEX = 2040 incremental overnight/10 (EUR2015). G30/H30 are DSO HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged.
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment

## PyPSA_50pct
INPUT
CALC
Simplified model of DSO allowable revenue for Europe
Max allowable revenue | (RAB*WACC)+Depreciation+ OPEX
WACC | 5.4%
Average Asset Lifetime | 42 |  |  | Verbal Input on Share of CAPEX in allowance revenue
Depreciation rate |  |  |  | Germany | Italy | Ireland | Portugal
Share of CAPEX in allowable revenue | 50% |  |  | 40 | 66 | 80 | 40
OPEX Growth | 1%
Starting RAB Europe | 700 | B EUR
B EUR | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065
Opening RAB
CAPEX addition | 29 | 32 | 35 | 36 | 40 | 60 | 32.2769 | 32.2769 | 32.2769 | 32.2769 | 32.2769 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 7.4645 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Depreciation
New RAB
Max allowable Revenue CAPEX
OPEX
Max allowable Revenue
Ratio tariff impact (normalised to 2020)
Price impact calculation
[5 empty] | 2020 | 2030 | 2040 | 2050
today's distribution tariff | 53 | EUR/MWh |  | TWh | 2589.5652 | 2041.081 | 2995.9775 | 4629.944
2020 elec consumption | 2590 | TWh |  | TWh DSO |  | 2041.081 | 2995.9775
Assumption DSO share consumption | 0.8 |  |  | Ratio Consumption
Estimated DSO revenue |  | billion EUR |  | Ratio revenue
Check error against Max Allowable Revenue from revenue model |  |  |  | revenue
distribution charges (EUR/MWh)
Direct DSO tariff MAR/TWh (EUR/MWh)
Verbal Input on share of distribution consumption in national total | France | Italy |  |  | 2018 | 2030 | 2040 | 2050
Share of electricity | 80 | 80
Eurostat - T&D tariff | 66 | 2022
1.82
PyPSA scenario 50%: 2026-2030 CAPEX = 2030 overnight/5; 2031-2040 CAPEX = 2040 incremental overnight/10 (EUR2015). G30/H30 are DSO HV→LV TWh (no 80% factor). 2020-2025 and 2041+ CAPEX unchanged.
Note on M18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming the depreciation does not grow after 2030 as the fleet age is reduced due to influx of new investment