## Parameters
German Industrial Network Tariff Model — Parameters (v3)
Formula: Tariff_t = (WACC·RAB_t + Dep_t + OPEX_t) / Demand_t ¦ Inv_s(t) = Inv_base(t) × Demand_s(t) / Demand_B(t) ¦ ★ 2023–2025 = historical benchmark (yellow)
① WACC
WACC 2024–2028 | 5.04% | BNetzA BK4-21-055/056: EK new 5.07%/old 3.51%; 40/60 EK-FK; 30% tax → pre-tax 5.04%
WACC 2029–2050 | 5.5% | OLG Düsseldorf Aug 2023 + BNetzA AGNes reform; central estimate
② RAB & Depreciation
Opening RAB (2023) | 186 | Back-derived: BDEW 2024 capital costs €15bn/yr → (5.04%+3%)×RAB=15bn
Depreciation rate | 3% | ARegV §6: ~33-yr average regulated asset life
RAB roll-forward | RAB_{t+1} = RAB_t + Inv_t − Dep_t | Building-block model; Inv_t is scenario-adjusted
③ OPEX
OPEX 2023→2045 (linear) | €15bn → €27bn | BDEW/Frontier Economics Dec 2024; flat from 2045
④ Base Investment Schedule (Scenario B)
Inv_base 2023 | 15 | IMK/Böckler Dec 2024
Inv_base 2024–2025 | 18 | Ramp
Inv_base 2026–2027 | 23 | Acceleration
Inv_base 2028–2029 | 30 | Near-peak
Inv_base 2030–2037 | 34 | Peak; ÜNB ~€19.8bn + VNB ~€14.4bn
Inv_base 2038–2045 | 24 | Transmission complete post-2037; distribution stays elevated
Inv_base 2046–2050 | 18 | [INFERENCE]
⑤ Scenario-Adjusted Investment ★
Inv_A(t)=Inv_B(t)×Dem_A(t)/Dem_B(t) | proportional scaling | Lower demand → smaller grid investment → smaller RAB
Inv_C(t)=Inv_B(t)×Dem_C(t)/Dem_B(t) | proportional scaling | Higher demand → larger investment → larger RAB
⑥ ★ UPDATED Demand Scenarios (NEP 2037/2045 Version 2025 draft, July 2024)
Scenario A (Bruttostromverbrauch 2045) | 967 | TSO Szenariorahmenentwurf NEP2037/2045 Version 2025, p.13: 'Bruttostromverbrauch 967 TWh in 2045'
Scenario B (Bruttostromverbrauch 2045) | 1179 | TSO Szenariorahmenentwurf NEP2037/2045 Version 2025, p.15: 'Bruttostromverbrauch 1.179 TWh in 2045'
Scenario C (Bruttostromverbrauch 2045) | 1351 | TSO Szenariorahmenentwurf NEP2037/2045 Version 2025, p.17: 'Bruttostromverbrauch 1.351 TWh in 2045'
Note on gross vs net | Gross (Brutto) figures used as denominator | For precise tariff calculation, apply ~8% net-to-gross correction → net A≈890/B≈1,085/C≈1,243 TWh. Using gross slightly understates tariffs.
2037 intermediate (A/B/C, gross) | 855 / 1,030 / 1,180 TWh | BNetzA approved SR 2025 via ZFK Dec 2025: 'Szenario A 845-865 TWh, B 1,000-1,065 TWh for 2037'
⑦ Band Allocation Weights
IG >150 GWh HöS | 0.22 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
IF 70–150 GWh HS/HöS | 0.4 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
IE 20–70 GWh HS | 0.63 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
ID 2–20 GWh MS | 0.93 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
IC 0.5–2 GWh NS | 1.3 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets

## RAB & Cost Build-up
RAB Roll-Forward & Cost Numerator ¦ ★ Yellow = 2023–2025 historical benchmark ¦ Inv_s(t) = Inv_base(t) × Demand_s(t) / Demand_B(t)
Year | Scenario A — Low | [7 empty] | Scenario B — Base | [7 empty] | Scenario C — High
| Inv (bn €) | Dep (bn €) | Closing RAB (bn €) | WACC×RAB (bn €) | OPEX (bn €) | Total Cost (bn €) | Demand (TWh) | Sys Avg (ct/kWh) | Inv (bn €) | Dep (bn €) | Closing RAB (bn €) | WACC×RAB (bn €) | OPEX (bn €) | Total Cost (bn €) | Demand (TWh) | Sys Avg (ct/kWh) | Inv (bn €) | Dep (bn €) | Closing RAB (bn €) | WACC×RAB (bn €) | OPEX (bn €) | Total Cost (bn €) | Demand (TWh) | Sys Avg (ct/kWh)
2023 | 15 | 5.58 | 195.42 | 9.37 | 15 | 29.95 | 510 | 5.87 | 15 | 5.58 | 195.42 | 9.37 | 15 | 29.95 | 510 | 5.87 | 15 | 5.58 | 195.42 | 9.37 | 15 | 29.95 | 510 | 5.87
2024 | 17.83 | 5.86 | 207.38 | 9.85 | 15.55 | 31.26 | 515 | 6.07 | 18 | 5.86 | 207.56 | 9.85 | 15.55 | 31.26 | 520 | 6.01 | 18.26 | 5.86 | 207.82 | 9.85 | 15.55 | 31.26 | 527.5 | 5.93
2025 | 17.66 | 6.22 | 218.82 | 10.45 | 16.09 | 32.76 | 520 | 6.3 | 18 | 6.23 | 219.33 | 10.46 | 16.09 | 32.78 | 530 | 6.18 | 18.51 | 6.23 | 220.09 | 10.47 | 16.09 | 32.8 | 545 | 6.02
2026 | 22.09 | 6.56 | 234.35 | 11.03 | 16.64 | 34.23 | 534 | 6.41 | 23 | 6.58 | 235.75 | 11.05 | 16.64 | 34.27 | 556 | 6.16 | 24.16 | 6.6 | 237.65 | 11.09 | 16.64 | 34.33 | 584 | 5.88
2027 | 21.66 | 7.03 | 248.97 | 11.81 | 17.18 | 36.02 | 548 | 6.57 | 23 | 7.07 | 251.68 | 11.88 | 17.18 | 36.14 | 582 | 6.21 | 24.62 | 7.13 | 255.14 | 11.98 | 17.18 | 36.29 | 623 | 5.82
2028 | 27.73 | 7.47 | 269.24 | 12.55 | 17.73 | 37.74 | 562 | 6.72 | 30 | 7.55 | 274.13 | 12.68 | 17.73 | 37.96 | 608 | 6.24 | 32.66 | 7.65 | 280.15 | 12.86 | 17.73 | 38.24 | 662 | 5.78
2029 | 27.26 | 8.08 | 288.41 | 14.81 | 18.27 | 41.16 | 576 | 7.15 | 30 | 8.22 | 295.9 | 15.08 | 18.27 | 41.57 | 634 | 6.56 | 33.17 | 8.4 | 304.91 | 15.41 | 18.27 | 42.09 | 701 | 6
2030 | 30.39 | 8.65 | 310.16 | 15.86 | 18.82 | 43.33 | 590 | 7.34 | 34 | 8.88 | 321.03 | 16.27 | 18.82 | 43.97 | 660 | 6.66 | 38.12 | 9.15 | 333.89 | 16.77 | 18.82 | 44.74 | 740 | 6.05
2031 | 29.95 | 9.3 | 330.8 | 17.06 | 19.36 | 45.73 | 627.86 | 7.28 | 34 | 9.63 | 345.4 | 17.66 | 19.36 | 46.65 | 712.86 | 6.54 | 38.29 | 10.02 | 362.16 | 18.36 | 19.36 | 47.74 | 802.86 | 5.95
2032 | 29.56 | 9.92 | 350.43 | 18.19 | 19.91 | 48.03 | 665.71 | 7.21 | 34 | 10.36 | 369.03 | 19 | 19.91 | 49.27 | 765.71 | 6.43 | 38.44 | 10.86 | 389.74 | 19.92 | 19.91 | 50.69 | 865.71 | 5.86
2033 | 29.22 | 10.51 | 369.14 | 19.27 | 20.45 | 50.24 | 703.57 | 7.14 | 34 | 11.07 | 391.96 | 20.3 | 20.45 | 51.82 | 818.57 | 6.33 | 38.57 | 11.69 | 416.62 | 21.44 | 20.45 | 53.58 | 928.57 | 5.77
2034 | 28.93 | 11.07 | 387 | 20.3 | 21 | 52.38 | 741.43 | 7.06 | 34 | 11.76 | 414.2 | 21.56 | 21 | 54.32 | 871.43 | 6.23 | 38.68 | 12.5 | 442.8 | 22.91 | 21 | 56.41 | 991.43 | 5.69
2035 | 28.67 | 11.61 | 404.05 | 21.28 | 21.55 | 54.44 | 779.29 | 6.99 | 34 | 12.43 | 435.78 | 22.78 | 21.55 | 56.75 | 924.29 | 6.14 | 38.78 | 13.28 | 468.3 | 24.35 | 21.55 | 59.18 | 1054.29 | 5.61
2036 | 28.43 | 12.12 | 420.36 | 22.22 | 22.09 | 56.44 | 817.14 | 6.91 | 34 | 13.07 | 456.7 | 23.97 | 22.09 | 59.13 | 977.14 | 6.05 | 38.87 | 14.05 | 493.12 | 25.76 | 22.09 | 61.9 | 1117.14 | 5.54
2037 | 28.22 | 12.61 | 435.98 | 23.12 | 22.64 | 58.37 | 855 | 6.83 | 34 | 13.7 | 477 | 25.12 | 22.64 | 61.46 | 1030 | 5.97 | 38.95 | 14.79 | 517.28 | 27.12 | 22.64 | 64.55 | 1180 | 5.47
2038 | 19.82 | 13.08 | 442.72 | 23.98 | 23.18 | 60.24 | 870 | 6.92 | 24 | 14.31 | 486.69 | 26.24 | 23.18 | 63.73 | 1053.33 | 6.05 | 27.49 | 15.52 | 529.25 | 28.45 | 23.18 | 67.15 | 1206.67 | 5.56
2039 | 19.73 | 13.28 | 449.17 | 24.35 | 23.73 | 61.36 | 885 | 6.93 | 24 | 14.6 | 496.09 | 26.77 | 23.73 | 65.1 | 1076.67 | 6.05 | 27.49 | 15.88 | 540.87 | 29.11 | 23.73 | 68.71 | 1233.33 | 5.57
2040 | 19.64 | 13.47 | 455.33 | 24.7 | 24.27 | 62.45 | 900 | 6.94 | 24 | 14.88 | 505.21 | 27.29 | 24.27 | 66.44 | 1100 | 6.04 | 27.49 | 16.23 | 552.13 | 29.75 | 24.27 | 70.25 | 1260 | 5.58
2041 | 19.65 | 13.66 | 461.31 | 25.04 | 24.82 | 63.52 | 913.4 | 6.95 | 24 | 15.16 | 514.05 | 27.79 | 24.82 | 67.76 | 1115.8 | 6.07 | 27.49 | 16.56 | 563.06 | 30.37 | 24.82 | 71.75 | 1278.2 | 5.61
2042 | 19.66 | 13.84 | 467.13 | 25.37 | 25.36 | 64.58 | 926.8 | 6.97 | 24 | 15.42 | 522.63 | 28.27 | 25.36 | 69.06 | 1131.6 | 6.1 | 27.5 | 16.89 | 573.67 | 30.97 | 25.36 | 73.22 | 1296.4 | 5.65
2043 | 19.67 | 14.01 | 472.78 | 25.69 | 25.91 | 65.62 | 940.2 | 6.98 | 24 | 15.68 | 530.95 | 28.74 | 25.91 | 70.33 | 1147.4 | 6.13 | 27.5 | 17.21 | 583.95 | 31.55 | 25.91 | 74.67 | 1314.6 | 5.68
2044 | 19.68 | 14.18 | 478.27 | 26 | 26.45 | 66.64 | 953.6 | 6.99 | 24 | 15.93 | 539.02 | 29.2 | 26.45 | 71.59 | 1163.2 | 6.15 | 27.5 | 17.52 | 593.93 | 32.12 | 26.45 | 76.09 | 1332.8 | 5.71
2045 | 19.68 | 14.35 | 483.61 | 26.31 | 27 | 67.65 | 967 | 7 | 24 | 16.17 | 546.85 | 29.65 | 27 | 72.82 | 1179 | 6.18 | 27.5 | 17.82 | 603.62 | 32.67 | 27 | 77.48 | 1351 | 5.74
2046 | 14.76 | 14.51 | 483.86 | 26.6 | 27 | 68.11 | 973.6 | 7 | 18 | 16.41 | 548.45 | 30.08 | 27 | 73.48 | 1187.2 | 6.19 | 20.63 | 18.11 | 606.14 | 33.2 | 27 | 78.31 | 1360.8 | 5.75
2047 | 14.76 | 14.52 | 484.11 | 26.61 | 27 | 68.13 | 980.2 | 6.95 | 18 | 16.45 | 549.99 | 30.16 | 27 | 73.62 | 1195.4 | 6.16 | 20.64 | 18.18 | 608.59 | 33.34 | 27 | 78.52 | 1370.6 | 5.73
2048 | 14.76 | 14.52 | 484.34 | 26.63 | 27 | 68.15 | 986.8 | 6.91 | 18 | 16.5 | 551.49 | 30.25 | 27 | 73.75 | 1203.6 | 6.13 | 20.64 | 18.26 | 610.98 | 33.47 | 27 | 78.73 | 1380.4 | 5.7
2049 | 14.76 | 14.53 | 484.57 | 26.64 | 27 | 68.17 | 993.4 | 6.86 | 18 | 16.54 | 552.95 | 30.33 | 27 | 73.88 | 1211.8 | 6.1 | 20.65 | 18.33 | 613.3 | 33.6 | 27 | 78.93 | 1390.2 | 5.68
2050 | 14.75 | 14.54 | 484.78 | 26.65 | 27 | 68.19 | 1000 | 6.82 | 18 | 16.59 | 554.36 | 30.41 | 27 | 74 | 1220 | 6.07 | 20.66 | 18.4 | 615.56 | 33.73 | 27 | 79.13 | 1400 | 5.65

## Tariff Results
German Industrial Network Tariffs ¦ EUR/kWh ¦ Real 2023 EUR ¦ ★ Yellow = 2023–2025 historical benchmark ¦ Demand: NEP 2037/2045 Version 2025 draft
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Scenario A — Low — Demand 2045: 967 TWh (Brutto, NEP 2037/2045 V2025)
System average (ct/kWh) | 5.87 | 6.07 | 6.3 | 6.41 | 6.57 | 6.72 | 7.15 | 7.34 | 7.28 | 7.21 | 7.14 | 7.06 | 6.99 | 6.91 | 6.83 | 6.92 | 6.93 | 6.94 | 6.95 | 6.97 | 6.98 | 6.99 | 7 | 7 | 6.95 | 6.91 | 6.86 | 6.82
IG >150 GWh HöS | 0.0129 | 0.0134 | 0.0139 | 0.0141 | 0.0145 | 0.0148 | 0.0157 | 0.0162 | 0.016 | 0.0159 | 0.0157 | 0.0155 | 0.0154 | 0.0152 | 0.015 | 0.0152 | 0.0153 | 0.0153 | 0.0153 | 0.0153 | 0.0154 | 0.0154 | 0.0154 | 0.0154 | 0.0153 | 0.0152 | 0.0151 | 0.015
IF 70–150 GWh HS/HöS | 0.0235 | 0.0243 | 0.0252 | 0.0256 | 0.0263 | 0.0269 | 0.0286 | 0.0294 | 0.0291 | 0.0289 | 0.0286 | 0.0283 | 0.0279 | 0.0276 | 0.0273 | 0.0277 | 0.0277 | 0.0278 | 0.0278 | 0.0279 | 0.0279 | 0.028 | 0.028 | 0.028 | 0.0278 | 0.0276 | 0.0274 | 0.0273
IE 20–70 GWh HS | 0.037 | 0.0382 | 0.0397 | 0.0404 | 0.0414 | 0.0423 | 0.045 | 0.0463 | 0.0459 | 0.0455 | 0.045 | 0.0445 | 0.044 | 0.0435 | 0.043 | 0.0436 | 0.0437 | 0.0437 | 0.0438 | 0.0439 | 0.044 | 0.044 | 0.0441 | 0.0441 | 0.0438 | 0.0435 | 0.0432 | 0.043
ID 2–20 GWh MS | 0.0546 | 0.0564 | 0.0586 | 0.0596 | 0.0611 | 0.0625 | 0.0665 | 0.0683 | 0.0677 | 0.0671 | 0.0664 | 0.0657 | 0.065 | 0.0642 | 0.0635 | 0.0644 | 0.0645 | 0.0645 | 0.0647 | 0.0648 | 0.0649 | 0.065 | 0.0651 | 0.0651 | 0.0646 | 0.0642 | 0.0638 | 0.0634
IC 0.5–2 GWh NS | 0.0764 | 0.0789 | 0.0819 | 0.0833 | 0.0855 | 0.0873 | 0.0929 | 0.0955 | 0.0947 | 0.0938 | 0.0928 | 0.0918 | 0.0908 | 0.0898 | 0.0887 | 0.09 | 0.0901 | 0.0902 | 0.0904 | 0.0906 | 0.0907 | 0.0908 | 0.091 | 0.0909 | 0.0904 | 0.0898 | 0.0892 | 0.0886
Scenario B — Base — Demand 2045: 1,179 TWh (Brutto, NEP 2037/2045 V2025)
System average (ct/kWh) | 5.87 | 6.01 | 6.18 | 6.16 | 6.21 | 6.24 | 6.56 | 6.66 | 6.54 | 6.43 | 6.33 | 6.23 | 6.14 | 6.05 | 5.97 | 6.05 | 6.05 | 6.04 | 6.07 | 6.1 | 6.13 | 6.15 | 6.18 | 6.19 | 6.16 | 6.13 | 6.1 | 6.07
IG >150 GWh HöS | 0.0129 | 0.0132 | 0.0136 | 0.0136 | 0.0137 | 0.0137 | 0.0144 | 0.0147 | 0.0144 | 0.0142 | 0.0139 | 0.0137 | 0.0135 | 0.0133 | 0.0131 | 0.0133 | 0.0133 | 0.0133 | 0.0134 | 0.0134 | 0.0135 | 0.0135 | 0.0136 | 0.0136 | 0.0135 | 0.0135 | 0.0134 | 0.0133
IF 70–150 GWh HS/HöS | 0.0235 | 0.024 | 0.0247 | 0.0247 | 0.0248 | 0.025 | 0.0262 | 0.0266 | 0.0262 | 0.0257 | 0.0253 | 0.0249 | 0.0246 | 0.0242 | 0.0239 | 0.0242 | 0.0242 | 0.0242 | 0.0243 | 0.0244 | 0.0245 | 0.0246 | 0.0247 | 0.0248 | 0.0246 | 0.0245 | 0.0244 | 0.0243
IE 20–70 GWh HS | 0.037 | 0.0379 | 0.039 | 0.0388 | 0.0391 | 0.0393 | 0.0413 | 0.042 | 0.0412 | 0.0405 | 0.0399 | 0.0393 | 0.0387 | 0.0381 | 0.0376 | 0.0381 | 0.0381 | 0.0381 | 0.0383 | 0.0384 | 0.0386 | 0.0388 | 0.0389 | 0.039 | 0.0388 | 0.0386 | 0.0384 | 0.0382
ID 2–20 GWh MS | 0.0546 | 0.0559 | 0.0575 | 0.0573 | 0.0577 | 0.0581 | 0.061 | 0.062 | 0.0609 | 0.0598 | 0.0589 | 0.058 | 0.0571 | 0.0563 | 0.0555 | 0.0563 | 0.0562 | 0.0562 | 0.0565 | 0.0568 | 0.057 | 0.0572 | 0.0574 | 0.0576 | 0.0573 | 0.057 | 0.0567 | 0.0564
IC 0.5–2 GWh NS | 0.0764 | 0.0781 | 0.0804 | 0.0801 | 0.0807 | 0.0812 | 0.0852 | 0.0866 | 0.0851 | 0.0836 | 0.0823 | 0.081 | 0.0798 | 0.0787 | 0.0776 | 0.0787 | 0.0786 | 0.0785 | 0.0789 | 0.0793 | 0.0797 | 0.08 | 0.0803 | 0.0805 | 0.0801 | 0.0797 | 0.0793 | 0.0789
Scenario C — High — Demand 2045: 1,351 TWh (Brutto, NEP 2037/2045 V2025)
System average (ct/kWh) | 5.87 | 5.93 | 6.02 | 5.88 | 5.82 | 5.78 | 6 | 6.05 | 5.95 | 5.86 | 5.77 | 5.69 | 5.61 | 5.54 | 5.47 | 5.56 | 5.57 | 5.58 | 5.61 | 5.65 | 5.68 | 5.71 | 5.74 | 5.75 | 5.73 | 5.7 | 5.68 | 5.65
IG >150 GWh HöS | 0.0129 | 0.013 | 0.0132 | 0.0129 | 0.0128 | 0.0127 | 0.0132 | 0.0133 | 0.0131 | 0.0129 | 0.0127 | 0.0125 | 0.0123 | 0.0122 | 0.012 | 0.0122 | 0.0123 | 0.0123 | 0.0123 | 0.0124 | 0.0125 | 0.0126 | 0.0126 | 0.0127 | 0.0126 | 0.0125 | 0.0125 | 0.0124
IF 70–150 GWh HS/HöS | 0.0235 | 0.0237 | 0.0241 | 0.0235 | 0.0233 | 0.0231 | 0.024 | 0.0242 | 0.0238 | 0.0234 | 0.0231 | 0.0228 | 0.0225 | 0.0222 | 0.0219 | 0.0223 | 0.0223 | 0.0223 | 0.0225 | 0.0226 | 0.0227 | 0.0228 | 0.0229 | 0.023 | 0.0229 | 0.0228 | 0.0227 | 0.0226
IE 20–70 GWh HS | 0.037 | 0.0373 | 0.0379 | 0.0379 | 0.0367 | 0.0364 | 0.0378 | 0.0381 | 0.0375 | 0.0369 | 0.0364 | 0.0358 | 0.0354 | 0.0349 | 0.0345 | 0.0351 | 0.0351 | 0.0351 | 0.0354 | 0.0356 | 0.0358 | 0.036 | 0.0361 | 0.0363 | 0.0361 | 0.0359 | 0.0358 | 0.0356
ID 2–20 GWh MS | 0.0546 | 0.0551 | 0.056 | 0.0547 | 0.0542 | 0.0537 | 0.0558 | 0.0562 | 0.0553 | 0.0545 | 0.0537 | 0.0529 | 0.0522 | 0.0515 | 0.0509 | 0.0518 | 0.0518 | 0.0518 | 0.0522 | 0.0525 | 0.0528 | 0.0531 | 0.0533 | 0.0535 | 0.0533 | 0.053 | 0.0528 | 0.0526
IC 0.5–2 GWh NS | 0.0764 | 0.077 | 0.0782 | 0.0764 | 0.0757 | 0.0751 | 0.078 | 0.0786 | 0.0773 | 0.0761 | 0.075 | 0.074 | 0.073 | 0.072 | 0.0711 | 0.0723 | 0.0724 | 0.0725 | 0.073 | 0.0734 | 0.0738 | 0.0742 | 0.0746 | 0.0748 | 0.0745 | 0.0741 | 0.0738 | 0.0735

## Scenario Comparison
Scenario Comparison — Key Years ¦ EUR/kWh ¦ ★ 2025 = historical benchmark (yellow) ¦ Demand: NEP 2037/2045 Version 2025 draft
| 2025 |  |  | 2030 |  |  | 2040 |  |  | 2045 |  |  | 2050
Band / Consumption | A Low | B Base | C High | A Low | B Base | C High | A Low | B Base | C High | A Low | B Base | C High | A Low | B Base | C High
IG >150 GWh HöS | 0.0139 | 0.0136 | 0.0132 | 0.0162 | 0.0147 | 0.0133 | 0.0153 | 0.0133 | 0.0123 | 0.0154 | 0.0136 | 0.0126 | 0.015 | 0.0133 | 0.0124
IF 70–150 GWh HS/HöS | 0.0252 | 0.0247 | 0.0241 | 0.0294 | 0.0266 | 0.0242 | 0.0278 | 0.0242 | 0.0223 | 0.028 | 0.0247 | 0.0229 | 0.0273 | 0.0243 | 0.0226
IE 20–70 GWh HS | 0.0397 | 0.039 | 0.0379 | 0.0463 | 0.042 | 0.0381 | 0.0437 | 0.0381 | 0.0351 | 0.0441 | 0.0389 | 0.0361 | 0.043 | 0.0382 | 0.0356
ID 2–20 GWh MS | 0.0586 | 0.0575 | 0.056 | 0.0683 | 0.062 | 0.0562 | 0.0645 | 0.0562 | 0.0518 | 0.0651 | 0.0574 | 0.0533 | 0.0634 | 0.0564 | 0.0526
IC 0.5–2 GWh NS | 0.0819 | 0.0804 | 0.0782 | 0.0955 | 0.0866 | 0.0786 | 0.0902 | 0.0785 | 0.0725 | 0.091 | 0.0803 | 0.0746 | 0.0886 | 0.0789 | 0.0735
System average | 0.063 | 0.0618 | 0.0602 | 0.0734 | 0.0666 | 0.0605 | 0.0694 | 0.0604 | 0.0558 | 0.07 | 0.0618 | 0.0574 | 0.0682 | 0.0607 | 0.0565
★ Yellow columns (2025): historical benchmark — model calibration reference only, not a forecast

## Methodology Note
Methodology Note ¦ v3 ¦ ★ = Updated vs previous version
FORMULA | Tariff_t = (WACC · RAB_t + Dep_t + OPEX_t) / Demand_t Standard BNetzA building-block cost recovery model (ARegV, StromNEV).
WACC | 2024–2028: 5.04% nominal pre-tax (BNetzA BK4-21-055/056). 2029–2050: 5.50% (OLG Düsseldorf Aug 2023 + BNetzA AGNes reform).
RAB | Opening €186 bn (2023). Back-derived from BDEW 2024 capital costs ~€15 bn/yr. Roll-forward: RAB_{t+1} = RAB_t + Inv_t − Dep_t. Dep rate = 3.0%/yr (ARegV §6).
INVESTMENT ★ | Base (Scenario B): €15bn (2023) → €34bn/yr by 2030–2037 → €24bn (2038–2045) → €18bn (2046–2050). Source: IMK/Hans-Böckler-Stiftung Dec 2024. Scenarios A & C: Inv_s(t) = Inv_B(t) × Demand_s(t) / Demand_B(t) (proportional scaling).
OPEX | €15bn (2023) → €27bn (2045), linear. BDEW/Frontier Economics Dec 2024. Constant across scenarios.
★ DEMAND (UPDATED v3) | Source: TSO Szenariorahmenentwurf NEP 2037/2045 Version 2025, July 2024. Bruttostromverbrauch 2045: Scenario A — 967 TWh (p.13: 'Der Bruttostromverbrauch liegt in diesem Szenario mit 967 TWh im Jahr 2045') Scenario B — 1,179 TWh (p.15: 'Bruttostromverbrauch liegt in diesem Szenario mit 1.179 TWh im Jahr 2045') Scenario C — 1,351 TWh (p.17: 'Bruttostromverbrauch liegt mit 1.351 TWh 2045') URL: https://www.netzentwicklungsplan.de/sites/default/files/2024-07/Szenariorahmenentwurf_NEP2037_2025.pdf 2037 intermediate: A≈855, B≈1,030, C≈1,180 TWh (BNetzA approved SR 2025, via ZFK Dec 2025). Note: These are GROSS (Brutto) figures. For precise tariff calculation apply ~8% net-to-gross correction. Using gross slightly understates tariffs (denominator is ~8% larger than net consumption).
★ HISTORICAL YEARS (YELLOW) | Years 2023–2025 are highlighted in yellow across all sheets. They represent the historical/benchmark period used to calibrate the model (opening RAB, OPEX baseline). These are not forecasts. Germany's actual net consumption in 2023 was ~510 TWh (BNetzA 2024).
BAND WEIGHTS | IG (HöS)=0.22×, IF (HS/HöS)=0.40×, IE (HS)=0.63×, ID (MS)=0.93×, IC (NS)=1.30×. Calibrated to EWI/ef.Ruhr BW study + BNetzA DSO price sheets.
CAVEATS | - §19(2) StromNEV individual discounts for IF/IG not modelled (actual tariffs may be 10–20% lower). - 2050 = [INFERENCE]; no German study extends beyond 2045. - Gross figures used as denominator (see Demand note above). - OPEX and WACC constant across scenarios (simplification).
KEY SOURCES | 1) BDEW/Frontier Economics & Consentec, 'Netzentgeltentwicklung Strom', Dec 2024. 2) IMK/Hans-Böckler-Stiftung, 'Ausbau der Stromnetze: Investitionsbedarfe', Dec 2024. 3) BNetzA BK4-21-055/056, Eigenkapitalzinssatz 4. Regulierungsperiode. 4) TSO Szenariorahmenentwurf NEP 2037/2045 Version 2025 (July 2024 draft). 5) BNetzA, Genehmigung Szenariorahmen 2025-2037/2045, April 2025. 6) EWI/ef.Ruhr, 'Netzentgelte Baden-Württemberg', Apr 2024. 7) ACER, 'Electricity Network Tariff Methodologies in Europe', 2025.