## PyPSA_Cover
German network-tariff model — PyPSA physical overlay
Original workbook is unchanged. This file is a copy.
Financial baseline (Excel, not PyPSA)
Opening RAB 2023 (bn €) | 186
WACC to 2028 / from 2029 | 0.0504 / 0.0550
Depreciation rate | 0.03
OPEX path | Excel Scenario B (15→27 bn, same in every PyPSA case)
Inv_base | Excel Scenario B IMK schedule
VNB / ÜNB split of Inv_base | 0.4211 / 0.5789 (14.4 / 19.8 of 34.2)
PyPSA used for
German DSO stock and peak HV→LV flow | investment scaling (VNB share)
German TSO stock GW-km (internal 100%, cross-border 50%) | investment scaling (ÜNB share)
German end-use electricity TWh | tariff denominator
PyPSA NOT used for
Absolute DSO/TSO CAPEX euros | too aggregated
Existing RAB, WACC, OPEX, historical investment | Excel / BNetzA / BDEW / IMK
85/75/65/50% labels as German capacity | those are EU-wide DSO budget caps
Recommended case | E_tso_dso_split (sheet PyPSA_RAB_recommended)
Comparison of all cases | sheet PyPSA_Comparison

## Inputs_PyPSA_DE
German physical quantities from solved PyPSA networks. DSO assets: costed links (carrier 'electricity distribution grid' and capital_cost>0) at DE AC nodes. Absolute overnight CAPEX is context-only and is not written into Inv.
run | scenario | cap_fraction_label | year | de_ac_nodes | conv_lv_twh | industry_twh | agriculture_twh | datacentre_twh | heat_pump_twh | resistive_heater_twh | bev_twh | electrolysis_twh | enduse_twh | served_enduse_twh | gross_incl_ptx_twh | rooftop_twh | rooftop_gw | rooftop_pmax_gw | lv_shed_twh | ev_shed_twh | peak_enduse_gw | peak_enduse_when | dso_stock_gw | dso_new_gw | dso_hv_lv_twh | peak_dso_gw | peak_dso_when | dso_peak_util_pct | dso_headroom_gw | dso_new_ann_bn_context_only | dso_stock_ann_bn_context_only | eu_dso_new_ann_bn | eu_dso_stock_gw | eu_budget_bn | eu_budget_slack_bn | eu_budget_binding | de_share_of_eu_dso_stock | ac_internal_stock_gw | ac_internal_new_gw | ac_xborder_stock_gw | ac_xborder_new_gw | ac_vol_stock_gwkm | ac_vol_new_gwkm | dc_internal_stock_gw | dc_internal_new_gw | dc_xborder_stock_gw | dc_xborder_new_gw | dc_vol_stock_gwkm | dc_vol_new_gwkm | tso_vol_stock_gwkm | tso_vol_new_gwkm | tso_ann_bn_context_only | tso_new_ann_bn_context_only | lv_limit_mu | dso_budget_dual
grid-build-2040 | Build | 1 | 2030 | 3 | 272.3553 | 214.1233 | 6.2176 | 25.9636 | 58.0964 | 28.7782 | 44.8121 | 0.0037127 | 650.3465 | 650.3465 | 650.3503 | 133.2096 | 125.0301 | 164.6852 | 3.4467e-05 | 4.7953e-05 | 133.3079 | 2019-04-16 08:00:00 | 77.5213 | 77.5213 | 515.9321 | 75.1956 | 2019-01-08 14:00:00 | 96.9999 | 2.3257 | 4.9193 | 4.9193 | 30.6658 | 483.2552 |  |  |  | 0.16041 | 56.287 | 8.2039 | 100.8346 | 16.0188 | 35475.634 | 4741.0489 | 0.077661 | 0.077661 | 7.6413 | 0.44133 | 1266.4855 | 91.9617 | 36742.1195 | 4833.0107 | 2.8184 | 0.34597 | -0.0024142 | not stored in solved .nc
grid-inaction-2040-mild85 | 85% | 0.85 | 2030 | 3 | 272.3553 | 214.1233 | 6.2176 | 25.9636 | 52.5621 | 25.4762 | 45.5039 | 0.0038536 | 642.2022 | 642.2021 | 642.206 | 133.0985 | 125.0432 | 164.6852 | 4.1146e-05 | 5.1709e-05 | 131.2669 | 2019-04-16 08:00:00 | 73.1486 | 73.1486 | 507.2347 | 70.9541 | 2019-01-08 14:00:00 | 97 | 2.1945 | 4.6418 | 4.6418 | 26.066 | 410.7676 | 26.066 | 2.2673e-05 | TRUE | 0.17808 | 54.1462 | 6.0631 | 88.6347 | 3.8189 | 33511.6305 | 2777.0455 | 0.05278 | 0.05278 | 9.998 | 2.798 | 1626.2732 | 451.7494 | 35137.9037 | 3228.7949 | 2.7936 | 0.32121 | -0.0033023 | not stored in solved .nc
grid-inaction-2040-mild75 | 75% | 0.75 | 2030 | 3 | 272.3553 | 214.1233 | 6.2176 | 25.9636 | 54.4622 | 36.7923 | 44.7064 | 0.0052418 | 654.6208 | 654.6208 | 654.6261 | 172.2879 | 162.8823 | 164.6852 | 4.9606e-05 | 0.045434 | 143.5325 | 2019-02-27 09:00:00 | 70.5615 | 70.5615 | 481.5881 | 68.4447 | 2019-01-08 14:00:00 | 97 | 2.1169 | 4.4776 | 4.4776 | 23 | 362.4515 | 23 | 3.0149e-06 | TRUE | 0.19468 | 51.4728 | 3.3896 | 86.7279 | 1.9122 | 32274.988 | 1540.4029 | 0.042964 | 0.042964 | 18.7461 | 11.5461 | 2838.5508 | 1664.0271 | 35113.5388 | 3204.43 | 3.0748 | 0.6024 | -0.0025685 | not stored in solved .nc
grid-inaction-2040-mild65 | 65% | 0.65 | 2030 | 3 | 272.3553 | 214.1233 | 6.2176 | 25.9636 | 50.8075 | 15.4174 | 41.4202 | 0.0072725 | 626.3049 | 626.3049 | 626.3122 | 174.2215 | 164.6852 | 164.6852 | 7.4786e-05 | 0.80719 | 123.4419 | 2019-02-27 09:00:00 | 61.8919 | 61.8919 | 454.7869 | 60.0352 | 2019-01-12 22:00:00 | 97 | 1.8568 | 3.9275 | 3.9275 | 19.933 | 314.1194 | 19.933 | 6.1004e-07 | TRUE | 0.19703 | 49.2248 | 1.1417 | 89.3276 | 4.5118 | 32203.1505 | 1468.5654 | 0.021729 | 0.021729 | 7.2075 | 0.0075435 | 1180.4822 | 5.9584 | 33383.6326 | 1474.5238 | 2.5729 | 0.10055 | -0.0055148 | not stored in solved .nc
grid-inaction-2040-moderate | 50% | 0.5 | 2030 | 3 | 272.3553 | 214.1233 | 6.2176 | 25.9636 | 40.9216 | 0.0028253 | 22.1445 | 0.019796 | 581.7287 | 562.0966 | 581.7485 | 174.4012 | 164.6852 | 164.6852 | 19.6321 | 16.5866 | 102.5837 | 2019-04-09 08:00:00 | 46.3836 | 46.3836 | 390.2007 | 44.9921 | 2019-12-22 20:00:00 | 97 | 1.3915 | 2.9434 | 2.9434 | 15.333 | 241.6291 | 15.333 | 1.3904e-07 | TRUE | 0.19196 | 48.0865 | 0.003419 | 86.428 | 1.6123 | 31070.8159 | 336.2309 | 0.0094182 | 0.0094182 | 7.2023 | 0.0023401 | 1176.9546 | 2.4308 | 32247.7705 | 338.6616 | 2.4956 | 0.023235 | -0.0025213 | not stored in solved .nc
grid-build-2040 | Build | 1 | 2040 | 3 | 272.3553 | 271.4369 | 6.2176 | 57.3996 | 127.8923 | 93.3616 | 121.0861 | 64.4104 | 949.7493 | 949.7493 | 1014.1597 | 174.1219 | 164.6852 | 204.3403 | 2.3651e-05 | 2.3749e-05 | 241.2676 | 2019-04-15 08:00:00 | 138.1563 | 60.6349 | 774.2869 | 134.0116 | 2019-01-23 08:00:00 | 97 | 4.1447 | 3.8477 | 8.7669 | 14.1844 | 706.7844 |  |  |  | 0.19547 | 65.5405 | 17.4574 | 115.7609 | 30.9452 | 41767.098 | 11032.5129 | 39.1457 | 39.1457 | 22.8967 | 15.6967 | 11205.4562 | 10030.9324 | 52972.5542 | 21063.4453 | 5.476 | 3.0035 | -0.0014813 | not stored in solved .nc
grid-inaction-2040-mild85 | 85% | 0.85 | 2040 | 3 | 272.3553 | 271.4369 | 6.2176 | 57.3996 | 125.7103 | 63.5898 | 120.0201 | 78.4722 | 916.7296 | 916.7296 | 995.2018 | 174.2171 | 164.6852 | 204.3272 | 1.9538e-05 | 2.0693e-05 | 217.1858 | 2019-04-15 08:00:00 | 115.5823 | 42.4337 | 741.7607 | 112.1148 | 2019-01-23 08:00:00 | 97 | 3.4675 | 2.6927 | 7.3345 | 12.056 | 600.7552 | 12.056 | 1.6322e-06 | TRUE | 0.19239 | 65.4438 | 17.3607 | 111.8483 | 27.0325 | 41762.5208 | 11027.9357 | 36.832 | 36.832 | 24.1746 | 16.9746 | 10897.8974 | 9723.3736 | 52660.4181 | 20751.3093 | 5.4082 | 2.9358 | -0.015216 | not stored in solved .nc
grid-inaction-2040-mild75 | 75% | 0.75 | 2040 | 3 | 272.3553 | 271.4369 | 6.2176 | 57.3996 | 124.4832 | 39.5701 | 118.7096 | 74.6642 | 890.1722 | 890.1722 | 964.8364 | 174.3223 | 164.6852 | 166.4882 | 2.7758e-05 | 3.0971e-05 | 202.6073 | 2019-04-15 08:00:00 | 104.1933 | 33.6318 | 716.6445 | 101.0675 | 2019-01-23 08:00:00 | 97 | 3.1258 | 2.1342 | 6.6118 | 10.638 | 530.0932 | 10.638 | 7.9996e-07 | TRUE | 0.19656 | 64.944 | 16.8609 | 106.0008 | 21.185 | 40669.3643 | 9934.7793 | 32.4151 | 32.4151 | 25.7573 | 18.5573 | 10236.8349 | 9062.3111 | 50906.1992 | 18997.0904 | 5.212 | 2.7395 | -0.0024809 | not stored in solved .nc
grid-inaction-2040-mild65 | 65% | 0.65 | 2040 | 3 | 272.3553 | 271.4369 | 6.2176 | 57.3996 | 99.2009 | 13.1048 | 115.909 | 171.4037 | 835.6241 | 835.624 | 1007.0278 | 174.3804 | 164.6852 | 164.6852 | 2.5833e-05 | 2.7401e-05 | 170.3437 | 2019-04-15 08:00:00 | 90.2676 | 28.3757 | 665.604 | 87.5596 | 2019-01-25 08:00:00 | 97 | 2.708 | 1.8006 | 5.7281 | 9.22 | 459.4151 | 9.22 | 5.167e-06 | TRUE | 0.19648 | 64.7228 | 16.6397 | 108.0166 | 23.2008 | 40612.7143 | 9878.1293 | 19.5404 | 19.5404 | 21.1755 | 13.9755 | 7134.6241 | 5960.1003 | 47747.3384 | 15838.2296 | 4.5432 | 2.0707 | -0.0013017 | not stored in solved .nc
grid-inaction-2040-moderate | 50% | 0.5 | 2040 | 3 | 272.3553 | 271.4369 | 6.2176 | 57.3996 | 80.5706 | 0.00010838 | 99.2376 | 270.2792 | 787.2177 | 787.2174 | 1057.4969 | 174.404 | 164.6852 | 164.6852 | 0.00024871 | 13.288 | 154.3055 | 2019-04-24 08:00:00 | 72.7533 | 26.3697 | 618.0896 | 70.5707 | 2019-11-23 20:00:00 | 97 | 2.1826 | 1.6733 | 4.6167 | 7.092 | 353.3903 | 7.092 | -2.9616e-09 | TRUE | 0.20587 | 65.1013 | 17.0181 | 105.7407 | 20.9249 | 39553.7195 | 8819.1344 | 3.8775 | 3.8775 | 9.5541 | 2.3541 | 1998.5213 | 823.9976 | 41552.2408 | 9643.132 | 3.2731 | 0.80068 | -0.001118 | not stored in solved .nc

## PyPSA_Mapping
Sheet | What changed | Source | Notes
Parameters / RAB & Cost Build-up / Tariff Results / Scenario Comparison / Methodology Note | Untouched copies of the original model | german_network_tariff_model_v3.xlsx | NEP A/B/C demand scenarios remain the Excel-only result.
PyPSA_Comparison | Cases A–E system-average tariffs for Build/85/75/65/50% in 2030 and 2040 | Excel B financial identities + German PyPSA ratios | Case E is the publication recommendation.
PyPSA_RAB_recommended | Year-by-year RAB for Case E (VNB×peak DSO, ÜNB×TSO stock) | Same identities as original RAB sheet | 2023–2025 investment is Excel B historical. 2026–30 uses 2030 ratios; 2031–40 uses 2040 ratios.
Inputs_PyPSA_DE | Raw German extract | solved .nc, 3 DE nodes | Industry/households/HP/BEV/data centres are on LV. No HöS-connected industry in the model.

## PyPSA_Comparison
System-average network tariff (ct/kWh). Excel A/B/C are NEP demand scenarios (original methodology). Build/85/75/65/50% use Excel B finance + PyPSA German physics. Case E is recommended. Cases C and D are empirically identical (DSO utilisation 97% in every run).
Original Excel NEP scenarios (ct/kWh, from the copied workbook)
scenario | year | nep_demand_twh | original_excel_ct_per_kwh
Excel A (NEP low) | 2030 | 590 | 7.34
Excel A (NEP low) | 2040 | 900 | 6.94
Excel B (NEP base) | 2030 | 660 | 6.66
Excel B (NEP base) | 2040 | 1100 | 6.04
Excel C (NEP high) | 2030 | 740 | 6.05
Excel C (NEP high) | 2040 | 1260 | 5.58
PyPSA grid-cap scenarios (ct/kWh system average)
scenario | year | pypsa_enduse_twh | peak_dso_gw | dso_stock_gw | dso_vs_build_pct | tso_stock_vs_build_pct | tso_new_vs_build_pct | enduse_vs_build_pct | A_demand_scaled | B_denominator_only | C_dso_capacity_all_inv | D_peak_flow_all_inv | E_tso_dso_split | E_dso_only_tso_nep | E_tso_new_volume
Build | 2030 | 650.3465 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 6.7613 | 6.7613 | 6.7613 | 6.7613 | 6.7613 | 6.7613 | 6.7613
Build | 2040 | 949.7493 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 6.9953 | 6.9953 | 6.9953 | 6.9953 | 6.9953 | 6.9953 | 6.9953
85% | 2030 | 642.2022 | 70.9541 | 73.1486 | 94.3592 | 95.6339 | 66.8071 | 98.7477 | 6.8302 | 6.847 | 6.7711 | 6.7711 | 6.781 | 6.8151 | 6.5563
85% | 2040 | 916.7296 | 112.1148 | 115.5823 | 83.6605 | 99.4108 | 98.5181 | 96.5233 | 7.1543 | 7.2473 | 6.8127 | 6.8127 | 7.0327 | 7.0643 | 6.8645
75% | 2030 | 654.6208 | 68.4447 | 70.5615 | 91.022 | 95.5675 | 66.303 | 100.6572 | 6.7258 | 6.7171 | 6.5986 | 6.5986 | 6.6333 | 6.6672 | 6.4095
75% | 2040 | 890.1722 | 101.0675 | 104.1933 | 75.417 | 96.0992 | 90.1899 | 93.7271 | 7.3188 | 7.4635 | 6.7854 | 6.7854 | 7.0989 | 7.178 | 6.8534
65% | 2030 | 626.3049 | 60.0352 | 61.8919 | 79.8386 | 90.8593 | 30.5094 | 96.3033 | 6.9698 | 7.0208 | 6.7425 | 6.7425 | 6.8306 | 6.9036 | 6.3482
65% | 2040 | 835.6241 | 87.5596 | 90.2676 | 65.3373 | 90.136 | 75.193 | 87.9836 | 7.6047 | 7.9507 | 6.8552 | 6.8552 | 7.2887 | 7.4894 | 6.7084
50% | 2030 | 581.7287 | 44.9921 | 46.3836 | 59.8333 | 87.7679 | 7.0073 | 89.449 | 7.402 | 7.5588 | 6.9618 | 6.9618 | 7.2022 | 7.3074 | 6.5071
50% | 2040 | 787.2177 | 70.5707 | 72.7533 | 52.6601 | 78.4411 | 45.7814 | 82.8869 | 7.859 | 8.4396 | 6.7138 | 6.7138 | 7.2961 | 7.7129 | 6.2723
Long table (all cases, including band IG/IC)
scenario | year | case | pypsa_enduse_twh | pypsa_dso_hv_lv_twh | peak_dso_gw | dso_stock_gw | dso_vs_build_pct | dso_new_vs_build_pct | tso_stock_vs_build_pct | tso_new_vs_build_pct | inv_bn | total_cost_bn | system_avg_ct_per_kwh | ig_eur_per_kwh | ic_eur_per_kwh | notes | case_label | peak_dso_vs_build_pct | enduse_vs_build_pct | closing_rab_bn | system_avg_eur_per_mwh | dso_peak_util_pct | lv_shed_twh
Excel A (NEP low) | 2030 | original_excel | 590 | [9 empty] | 7.34 | 0.016148 | 0.09542 | Workbook NEP demand scenario; not a PyPSA grid-cap case
Excel A (NEP low) | 2040 | original_excel | 900 | [9 empty] | 6.94 | 0.015268 | 0.09022 | Workbook NEP demand scenario; not a PyPSA grid-cap case
Excel B (NEP base) | 2030 | original_excel | 660 | [7 empty] | 34 |  | 6.66 | 0.014652 | 0.08658 | Workbook NEP demand scenario; not a PyPSA grid-cap case
Excel B (NEP base) | 2040 | original_excel | 1100 | [7 empty] | 24 |  | 6.04 | 0.013288 | 0.07852 | Workbook NEP demand scenario; not a PyPSA grid-cap case
Excel C (NEP high) | 2030 | original_excel | 740 | [9 empty] | 6.05 | 0.01331 | 0.07865 | Workbook NEP demand scenario; not a PyPSA grid-cap case
Excel C (NEP high) | 2040 | original_excel | 1260 | [9 empty] | 5.58 | 0.012276 | 0.07254 | Workbook NEP demand scenario; not a PyPSA grid-cap case
Build | 2030 | A_demand_scaled | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | A_demand_scaled | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
Build | 2030 | B_denominator_only | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | B_denominator_only | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
Build | 2030 | C_dso_capacity_all_inv | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | C_dso_capacity_all_inv | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
Build | 2030 | D_peak_flow_all_inv | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | D_peak_flow_all_inv | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
Build | 2030 | E_tso_dso_split | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | E_tso_dso_split | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
Build | 2030 | E_dso_only_tso_nep | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | E_dso_only_tso_nep | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
Build | 2030 | E_tso_new_volume | 650.3465 | 515.9321 | 75.1956 | 77.5213 | 100 | 100 | 100 | 100 | 34 | 43.9718 | 6.7613 | 0.014875 | 0.087897 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 100 | 100 | 321.0269 | 67.6129 | 96.9999 | 3.4467e-05
Build | 2040 | E_tso_new_volume | 949.7493 | 774.2869 | 134.0116 | 138.1563 | 100 | 100 | 100 | 100 | 24 | 66.4379 | 6.9953 | 0.01539 | 0.090939 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 100 | 100 | 505.21 | 69.9531 | 97 | 2.3651e-05
85% | 2030 | A_demand_scaled | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 33.5742 | 43.8636 | 6.8302 | 0.015026 | 0.088792 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 94.3593 | 98.7477 | 319.3654 | 68.3018 | 97 | 4.1146e-05
85% | 2040 | A_demand_scaled | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 23.1656 | 65.5857 | 7.1543 | 0.015739 | 0.093006 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 83.6605 | 96.5233 | 494.6506 | 71.5431 | 97 | 1.9538e-05
85% | 2030 | B_denominator_only | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 34 | 43.9718 | 6.847 | 0.015063 | 0.089012 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 94.3593 | 98.7477 | 321.0269 | 68.4704 | 97 | 4.1146e-05
85% | 2040 | B_denominator_only | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 24 | 66.4379 | 7.2473 | 0.015944 | 0.094215 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 83.6605 | 96.5233 | 505.21 | 72.4727 | 97 | 1.9538e-05
85% | 2030 | C_dso_capacity_all_inv | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 32.0821 | 43.4841 | 6.7711 | 0.014896 | 0.088024 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 94.3593 | 98.7477 | 313.5428 | 67.7109 | 97 | 4.1146e-05
85% | 2040 | C_dso_capacity_all_inv | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 20.0785 | 62.4538 | 6.8127 | 0.014988 | 0.088565 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 83.6605 | 96.5233 | 455.8233 | 68.1268 | 97 | 1.9538e-05
85% | 2030 | D_peak_flow_all_inv | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 32.0822 | 43.4841 | 6.7711 | 0.014896 | 0.088024 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 94.3593 | 98.7477 | 313.5429 | 67.7109 | 97 | 4.1146e-05
85% | 2040 | D_peak_flow_all_inv | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 20.0785 | 62.4538 | 6.8127 | 0.014988 | 0.088565 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 83.6605 | 96.5233 | 455.8234 | 68.1268 | 97 | 1.9538e-05
85% | 2030 | E_tso_dso_split | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 32.3331 | 43.5479 | 6.781 | 0.014918 | 0.088153 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 94.3593 | 98.7477 | 314.5219 | 67.8102 | 97 | 4.1146e-05
85% | 2040 | E_tso_dso_split | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 22.267 | 64.4706 | 7.0327 | 0.015472 | 0.091425 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 83.6605 | 96.5233 | 481.0265 | 70.3267 | 97 | 1.9538e-05
85% | 2030 | E_dso_only_tso_nep | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 33.1925 | 43.7665 | 6.8151 | 0.014993 | 0.088596 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 94.3593 | 98.7477 | 317.8757 | 68.1506 | 97 | 4.1146e-05
85% | 2040 | E_dso_only_tso_nep | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 22.3489 | 64.7604 | 7.0643 | 0.015541 | 0.091836 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 83.6605 | 96.5233 | 484.4156 | 70.6428 | 97 | 1.9538e-05
85% | 2030 | E_tso_new_volume | 642.2022 | 507.2347 | 70.9541 | 73.1486 | 94.3592 | 94.3592 | 95.6339 | 66.8071 | 26.6587 | 42.1047 | 6.5563 | 0.014424 | 0.085232 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 94.3593 | 98.7477 | 292.3787 | 65.5631 | 97 | 4.1146e-05
85% | 2040 | E_tso_new_volume | 916.7296 | 741.7607 | 112.1148 | 115.5823 | 83.6605 | 69.9823 | 99.4108 | 98.5181 | 22.1429 | 62.929 | 6.8645 | 0.015102 | 0.089239 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 83.6605 | 96.5233 | 463.3101 | 68.6451 | 97 | 1.9538e-05
75% | 2030 | A_demand_scaled | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 34.2235 | 44.0287 | 6.7258 | 0.014797 | 0.087436 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 91.0221 | 100.6572 | 321.8989 | 67.2583 | 97 | 4.9606e-05
75% | 2040 | A_demand_scaled | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 22.4945 | 65.1504 | 7.3188 | 0.016101 | 0.095145 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 75.417 | 93.7271 | 489.0117 | 73.1885 | 97 | 2.7758e-05
75% | 2030 | B_denominator_only | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 34 | 43.9718 | 6.7171 | 0.014778 | 0.087323 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 91.0221 | 100.6572 | 321.0269 | 67.1715 | 97 | 4.9606e-05
75% | 2040 | B_denominator_only | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 24 | 66.4379 | 7.4635 | 0.01642 | 0.097025 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 75.417 | 93.7271 | 505.21 | 74.6349 | 97 | 2.7758e-05
75% | 2030 | C_dso_capacity_all_inv | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 30.9475 | 43.1955 | 6.5986 | 0.014517 | 0.085781 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 91.0221 | 100.6572 | 309.1149 | 65.9855 | 97 | 4.9606e-05
75% | 2040 | C_dso_capacity_all_inv | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 18.1001 | 60.4017 | 6.7854 | 0.014928 | 0.08821 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 75.417 | 93.7271 | 430.4261 | 67.8539 | 97 | 2.7758e-05
75% | 2030 | D_peak_flow_all_inv | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 30.9475 | 43.1955 | 6.5986 | 0.014517 | 0.085781 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 91.0221 | 100.6572 | 309.1151 | 65.9855 | 97 | 4.9606e-05
75% | 2040 | D_peak_flow_all_inv | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 18.1001 | 60.4017 | 6.7854 | 0.014928 | 0.08821 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 75.417 | 93.7271 | 430.4262 | 67.8539 | 97 | 2.7758e-05
75% | 2030 | E_tso_dso_split | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 31.8423 | 43.4231 | 6.6333 | 0.014593 | 0.086233 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 91.0221 | 100.6572 | 312.6066 | 66.3332 | 97 | 4.9606e-05
75% | 2040 | E_tso_dso_split | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 20.9738 | 63.1925 | 7.0989 | 0.015618 | 0.092286 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 75.417 | 93.7271 | 465.1481 | 70.9891 | 97 | 2.7758e-05
75% | 2030 | E_dso_only_tso_nep | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 32.7147 | 43.645 | 6.6672 | 0.014668 | 0.086674 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 91.0221 | 100.6572 | 316.0114 | 66.6721 | 97 | 4.9606e-05
75% | 2040 | E_dso_only_tso_nep | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 21.5158 | 63.8963 | 7.178 | 0.015792 | 0.093314 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 75.417 | 93.7271 | 473.7221 | 71.7797 | 97 | 2.7758e-05
75% | 2030 | E_tso_new_volume | 654.6208 | 481.5881 | 68.4447 | 70.5615 | 91.022 | 91.022 | 95.5675 | 66.303 | 26.0818 | 41.958 | 6.4095 | 0.014101 | 0.083324 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 91.0221 | 100.6572 | 290.1271 | 64.0951 | 97 | 4.9606e-05
75% | 2040 | E_tso_new_volume | 890.1722 | 716.6445 | 101.0675 | 104.1933 | 75.417 | 55.4661 | 96.0992 | 90.1899 | 20.1527 | 61.0069 | 6.8534 | 0.015077 | 0.089094 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 75.417 | 93.7271 | 439.3861 | 68.5339 | 97 | 2.7758e-05
65% | 2030 | A_demand_scaled | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 32.7431 | 43.6522 | 6.9698 | 0.015334 | 0.090607 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 79.8387 | 96.3033 | 316.1221 | 69.698 | 97 | 7.4786e-05
65% | 2040 | A_demand_scaled | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 21.1161 | 63.5466 | 7.6047 | 0.01673 | 0.098861 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 65.3373 | 87.9836 | 469.3319 | 76.0469 | 97 | 2.5833e-05
65% | 2030 | B_denominator_only | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 34 | 43.9718 | 7.0208 | 0.015446 | 0.091271 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 79.8387 | 96.3033 | 321.0269 | 70.2084 | 97 | 7.4786e-05
65% | 2040 | B_denominator_only | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 24 | 66.4379 | 7.9507 | 0.017492 | 0.10336 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 65.3373 | 87.9836 | 505.21 | 79.5069 | 97 | 2.5833e-05
65% | 2030 | C_dso_capacity_all_inv | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 27.1451 | 42.2284 | 6.7425 | 0.014833 | 0.087652 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 79.8387 | 96.3033 | 294.2767 | 67.4247 | 97 | 7.4786e-05
65% | 2040 | C_dso_capacity_all_inv | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 15.681 | 57.2834 | 6.8552 | 0.015081 | 0.089117 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 65.3373 | 87.9836 | 392.4224 | 68.5517 | 97 | 2.5833e-05
65% | 2030 | D_peak_flow_all_inv | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 27.1451 | 42.2284 | 6.7425 | 0.014833 | 0.087652 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 79.8387 | 96.3033 | 294.2768 | 67.4247 | 97 | 7.4786e-05
65% | 2040 | D_peak_flow_all_inv | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 15.681 | 57.2834 | 6.8552 | 0.015081 | 0.089117 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 65.3373 | 87.9836 | 392.4225 | 68.5517 | 97 | 2.5833e-05
65% | 2030 | E_tso_dso_split | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 29.3145 | 42.7802 | 6.8306 | 0.015027 | 0.088797 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 79.8387 | 96.3033 | 302.7423 | 68.3057 | 97 | 7.4786e-05
65% | 2040 | E_tso_dso_split | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 19.1267 | 60.9062 | 7.2887 | 0.016035 | 0.094753 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 65.3373 | 87.9836 | 437.2107 | 72.8871 | 97 | 2.5833e-05
65% | 2030 | E_dso_only_tso_nep | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 31.1137 | 43.2378 | 6.9036 | 0.015188 | 0.089747 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 79.8387 | 96.3033 | 309.7637 | 69.0363 | 97 | 7.4786e-05
65% | 2040 | E_dso_only_tso_nep | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 20.4972 | 62.5834 | 7.4894 | 0.016477 | 0.097362 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 65.3373 | 87.9836 | 457.7205 | 74.8942 | 97 | 2.5833e-05
65% | 2030 | E_tso_new_volume | 626.3049 | 454.7869 | 60.0352 | 61.8919 | 79.8386 | 79.8386 | 90.8593 | 30.5094 | 17.4351 | 39.7589 | 6.3482 | 0.013966 | 0.082526 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 79.8387 | 96.3033 | 256.3846 | 63.4817 | 97 | 7.4786e-05
65% | 2040 | E_tso_new_volume | 835.6241 | 665.604 | 87.5596 | 90.2676 | 65.3373 | 46.7976 | 90.136 | 75.193 | 17.0504 | 56.0572 | 6.7084 | 0.014759 | 0.08721 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 65.3373 | 87.9836 | 379.7989 | 67.0843 | 97 | 2.5833e-05
50% | 2030 | A_demand_scaled | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 30.4127 | 43.0595 | 7.402 | 0.016284 | 0.096226 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 59.8334 | 89.449 | 307.0279 | 74.0199 | 97 | 19.6321
50% | 2040 | A_demand_scaled | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 19.8929 | 61.8671 | 7.859 | 0.01729 | 0.10217 |  | Case A — Excel method: Inv × (end-use_s / end-use_Build) | 52.6601 | 82.8869 | 448.942 | 78.5896 | 97 | 0.00024871
50% | 2030 | B_denominator_only | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 34 | 43.9718 | 7.5588 | 0.016629 | 0.098265 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 59.8334 | 89.449 | 321.0269 | 75.5882 | 97 | 19.6321
50% | 2040 | B_denominator_only | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 24 | 66.4379 | 8.4396 | 0.018567 | 0.10971 |  | Case B — Excel B investment unchanged; PyPSA end-use denominator only | 52.6601 | 82.8869 | 505.21 | 84.3958 | 97 | 0.00024871
50% | 2030 | C_dso_capacity_all_inv | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 20.3433 | 40.4985 | 6.9618 | 0.015316 | 0.090503 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 59.8334 | 89.449 | 267.7337 | 69.6176 | 97 | 19.6321
50% | 2040 | C_dso_capacity_all_inv | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 12.6384 | 52.8524 | 6.7138 | 0.01477 | 0.08728 |  | Case C — all Inv_base × (German DSO stock_s / stock_Build) | 52.6601 | 82.8869 | 338.8136 | 67.1382 | 97 | 0.00024871
50% | 2030 | D_peak_flow_all_inv | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 20.3434 | 40.4985 | 6.9618 | 0.015316 | 0.090503 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 59.8334 | 89.449 | 267.7338 | 69.6176 | 97 | 19.6321
50% | 2040 | D_peak_flow_all_inv | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 12.6384 | 52.8524 | 6.7138 | 0.01477 | 0.08728 |  | Case D — all Inv_base × (German peak HV→LV_s / peak_Build) | 52.6601 | 82.8869 | 338.8137 | 67.1382 | 97 | 0.00024871
50% | 2030 | E_tso_dso_split | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 25.842 | 41.897 | 7.2022 | 0.015845 | 0.093628 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 59.8334 | 89.449 | 289.1916 | 72.0216 | 97 | 19.6321
50% | 2040 | E_tso_dso_split | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 16.2206 | 57.4366 | 7.2961 | 0.016052 | 0.09485 |  | Case E — VNB share × DSO peak; ÜNB share × TSO stock GW-km (recommended) | 52.6601 | 82.8869 | 394.7096 | 72.9615 | 97 | 0.00024871
50% | 2030 | E_dso_only_tso_nep | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 28.2498 | 42.5094 | 7.3074 | 0.016076 | 0.094997 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 59.8334 | 89.449 | 298.5877 | 73.0743 | 97 | 19.6321
50% | 2040 | E_dso_only_tso_nep | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 19.2162 | 60.7177 | 7.7129 | 0.016968 | 0.10027 |  | Sensitivity — VNB share × DSO peak; ÜNB share left at Excel B (NEP TSO continues) | 52.6601 | 82.8869 | 435.1484 | 77.1295 | 97 | 0.00024871
50% | 2030 | E_tso_new_volume | 581.7287 | 390.2007 | 44.9921 | 46.3836 | 59.8333 | 59.8333 | 87.7679 | 7.0073 | 9.9449 | 37.8539 | 6.5071 | 0.014316 | 0.084593 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 59.8334 | 89.449 | 227.1555 | 65.0714 | 97 | 19.6321
50% | 2040 | E_tso_new_volume | 787.2177 | 618.0896 | 70.5707 | 72.7533 | 52.6601 | 43.4892 | 78.4411 | 45.7814 | 11.6826 | 49.377 | 6.2723 | 0.013799 | 0.081541 |  | Sensitivity — VNB × DSO peak; ÜNB × TSO *new* GW-km (not recommended) | 52.6601 | 82.8869 | 298.1983 | 62.7235 | 97 | 0.00024871

## PyPSA_RAB_recommended
Case E (recommended): Inv_t = Inv_B,t × [0.4211 × (peak DSO_s / peak DSO_Build) + 0.5789 × (TSO stock GW-km_s / TSO stock_Build)]. Demand = German PyPSA end-use TWh. OPEX/WACC/depreciation from Excel B. Yellow years 2023–2025 are historical (unscaled).
| Inv (bn €) |  |  |  |  | Closing RAB (bn €) |  |  |  |  | Total cost (bn €) |  |  |  |  | Demand (TWh) |  |  |  |  | Sys avg (ct/kWh)
Year | Build | 85% | 75% | 65% | 50% | Build | 85% | 75% | 65% | 50% | Build | 85% | 75% | 65% | 50% | Build | 85% | 75% | 65% | 50% | Build | 85% | 75% | 65% | 50%
2023 | 15 | 15 | 15 | 15 | 15 | 195.42 | 195.42 | 195.42 | 195.42 | 195.42 | 29.9544 | 29.9544 | 29.9544 | 29.9544 | 29.9544 | 510 | 510 | 510 | 510 | 510 | 5.8734 | 5.8734 | 5.8734 | 5.8734 | 5.8734
2024 | 18 | 18 | 18 | 18 | 18 | 207.5574 | 207.5574 | 207.5574 | 207.5574 | 207.5574 | 31.2618 | 31.2618 | 31.2618 | 31.2618 | 31.2618 | 520 | 520 | 520 | 520 | 520 | 6.0119 | 6.0119 | 6.0119 | 6.0119 | 6.0119
2025 | 18 | 18 | 18 | 18 | 18 | 219.3307 | 219.3307 | 219.3307 | 219.3307 | 219.3307 | 32.7776 | 32.7776 | 32.7776 | 32.7776 | 32.7776 | 530 | 530 | 530 | 530 | 530 | 6.1845 | 6.1845 | 6.1845 | 6.1845 | 6.1845
2026 | 23 | 21.8724 | 21.5403 | 19.8304 | 17.4814 | 235.7508 | 234.6231 | 234.2911 | 232.5811 | 230.2321 | 34.2742 | 34.2742 | 34.2742 | 34.2742 | 34.2742 | 554.0693 | 552.4404 | 554.9242 | 549.261 | 540.3457 | 6.1859 | 6.2041 | 6.1764 | 6.2401 | 6.343
2027 | 23 | 21.8724 | 21.5403 | 19.8304 | 17.4814 | 251.6782 | 249.4568 | 248.8027 | 245.4341 | 240.8065 | 36.1344 | 36.0437 | 36.017 | 35.8795 | 35.6907 | 578.1386 | 574.8809 | 579.8483 | 568.522 | 550.6915 | 6.2501 | 6.2698 | 6.2115 | 6.311 | 6.4811
2028 | 30 | 28.5292 | 28.0961 | 25.8657 | 22.8018 | 274.1279 | 270.5022 | 269.4347 | 263.9368 | 256.3841 | 37.9649 | 37.7863 | 37.7337 | 37.4629 | 37.0908 | 602.2079 | 597.3213 | 604.7725 | 587.783 | 561.0372 | 6.3043 | 6.326 | 6.2393 | 6.3736 | 6.6111
2029 | 30 | 28.5292 | 28.0961 | 25.8657 | 22.8018 | 295.9041 | 290.9163 | 289.4478 | 281.8844 | 271.4944 | 41.5709 | 41.2627 | 41.172 | 40.7046 | 40.0627 | 626.2772 | 619.7617 | 629.6967 | 607.044 | 571.383 | 6.6378 | 6.6578 | 6.5384 | 6.7054 | 7.0115
2030 | 34 | 32.3331 | 31.8423 | 29.3145 | 25.842 | 321.0269 | 314.5219 | 312.6066 | 302.7423 | 289.1916 | 43.9718 | 43.5479 | 43.4231 | 42.7802 | 41.897 | 650.3465 | 642.2022 | 654.6208 | 626.3049 | 581.7287 | 6.7613 | 6.781 | 6.6333 | 6.8306 | 7.2022
2031 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 345.3961 | 336.6311 | 332.9413 | 320.7562 | 303.4951 | 46.6473 | 46.0944 | 45.9316 | 45.0931 | 43.9413 | 680.2868 | 669.6549 | 678.176 | 647.2369 | 602.2776 | 6.857 | 6.8833 | 6.7728 | 6.967 | 7.2959
2032 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 369.0342 | 358.0771 | 352.666 | 338.2296 | 317.3694 | 49.2687 | 48.5236 | 48.21 | 47.1743 | 45.7071 | 710.2271 | 697.1076 | 701.7311 | 668.1688 | 622.8265 | 6.937 | 6.9607 | 6.8702 | 7.0602 | 7.3387
2033 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 391.9632 | 378.8797 | 371.7989 | 355.1788 | 330.8276 | 51.8179 | 50.8866 | 50.4266 | 49.1995 | 47.4264 | 740.1674 | 724.5604 | 725.2862 | 689.1007 | 643.3754 | 7.0008 | 7.0231 | 6.9526 | 7.1397 | 7.3715
2034 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 414.2043 | 399.0582 | 390.3579 | 371.6196 | 343.882 | 54.3169 | 53.2048 | 52.6029 | 51.1902 | 49.1203 | 770.1077 | 752.0131 | 748.8414 | 710.0326 | 663.9243 | 7.0532 | 7.075 | 7.0246 | 7.2096 | 7.3985
2035 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 435.7782 | 418.6313 | 408.36 | 387.5671 | 356.5447 | 56.7574 | 55.4699 | 54.7304 | 53.1377 | 50.78 | 800.0479 | 779.4659 | 772.3965 | 730.9645 | 684.4732 | 7.0942 | 7.1164 | 7.0858 | 7.2695 | 7.4188
2036 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 456.7048 | 437.6173 | 425.8222 | 403.0362 | 368.8276 | 59.1311 | 57.6737 | 56.8006 | 55.0332 | 52.3963 | 829.9882 | 806.9186 | 795.9517 | 751.8964 | 705.0221 | 7.1243 | 7.1474 | 7.1362 | 7.3193 | 7.4319
2037 | 34 | 31.5449 | 29.7129 | 27.0961 | 22.9792 | 477.0037 | 456.0336 | 442.7604 | 418.0412 | 380.742 | 61.4599 | 59.8375 | 58.8349 | 56.8981 | 53.9903 | 859.9285 | 834.3714 | 819.5068 | 772.8283 | 725.571 | 7.1471 | 7.1716 | 7.1793 | 7.3623 | 7.4411
2038 | 24 | 22.267 | 20.9738 | 19.1267 | 16.2206 | 486.6936 | 464.6196 | 450.4514 | 424.6266 | 385.5404 | 63.7253 | 61.9429 | 60.8146 | 58.7135 | 55.5431 | 889.8688 | 861.8241 | 843.062 | 793.7602 | 746.1199 | 7.1612 | 7.1874 | 7.2135 | 7.3969 | 7.4443
2039 | 24 | 22.267 | 20.9738 | 19.1267 | 16.2206 | 496.0928 | 472.948 | 457.9117 | 431.0145 | 390.1948 | 65.099 | 63.2227 | 62.0184 | 59.8233 | 56.5009 | 919.8091 | 889.2768 | 866.6171 | 814.6922 | 766.6688 | 7.0774 | 7.1094 | 7.1564 | 7.3431 | 7.3697
2040 | 24 | 22.267 | 20.9738 | 19.1267 | 16.2206 | 505.21 | 481.0265 | 465.1481 | 437.2107 | 394.7096 | 66.4379 | 64.4706 | 63.1925 | 60.9062 | 57.4366 | 949.7493 | 916.7296 | 890.1722 | 835.6241 | 787.2177 | 6.9953 | 7.0327 | 7.0989 | 7.2887 | 7.2961
Green = PyPSA snapshot years (2030, 2040). Yellow = historical benchmark.

## PyPSA_Methodology
# German network tariffs: Excel finance + PyPSA physics
## Rule
The original workbook (`german_network_tariff_model_v3.xlsx`) is not modified.
This copy keeps every original sheet. PyPSA absolute grid CAPEX is never used
as German investment.
Excel supplies the realistic financial/regulatory baseline:
opening RAB 186 bn € (2023), WACC 5.04% then 5.50%, depreciation 3%/yr of
opening RAB, OPEX 15→27 bn € (scenario-independent), Inv_base from IMK
(Scenario B).
PyPSA supplies endogenous *German* physical ratios only.
## Excel identities (inspected)
Tariff_t = (WACC_t × RAB_t + Dep_t + OPEX_t) / Demand_t
RAB_{t+1} = RAB_t + Inv_t − Dep_t
Dep_t = 0.03 × opening RAB_t
Inv_s(t) = Inv_B(t) × Demand_s(t) / Demand_B(t) # original NEP A/C method
Original Excel A/B/C are NEP 2037/2045 Version 2025 *demand* scenarios
(967 / 1,179 / 1,351 TWh Brutto in 2045). They are not grid-cap scenarios.
Documented TSO/DSO split of the 34 bn peak year: ÜNB 19.8 + VNB 14.4.
Shares used here are 19.8/34.2 and 14.4/34.2.
Band allocation (IG 0.22 … IC 1.30) is a multiplier on the *same* system
average. It is not a voltage-specific cost pool. PyPSA cannot assign
customers to HöS vs NS: industry electricity sits on LV.
## PyPSA geography and assets
Germany = 3 AC nodes (DE2 0/1/2) in the 37-cluster networks.
Costed DSO = carrier 'electricity distribution grid' AND capital_cost > 0.
Reverse twins and data-centre site links are excluded.
The 85/75/65/50% names are a *Europe-wide* cap on new DSO annualised
investment. They are not German capacity findings. German realised DSO
stock vs Build is endogenous (2030: 94.4 / 91.0 / 79.8 / 59.8%;
2040: 83.7 / 75.4 / 65.3 / 52.7%). Peak HV→LV ratios match stock ratios
because utilisation is 97% in every run (DSO is sized to peak).
The DSO-budget dual is not stored in the solved .nc files. The EU cap is
binding (slack ≈ 0) in every inaction run.
Cross-border AC/DC volume is allocated 50% to Germany.
## Denominator
Excel recovers TSO+DSO from total German kWh. The matching PyPSA quantity
is German *end-use electricity*:
conventional LV + industry + agriculture + data centres + heat pumps
+ resistive heaters + BEV chargers.
Not used as the system-average denominator:
- HV→LV DSO flow (excludes rooftop self-consumption; Excel is TSO+DSO)
- Gross including electrolysis (50% 2040 PtX jumps to ~270 TWh and would
inflate the billing base; NEP Brutto includes PtX, StromNEV bands do not)
## Cases
A Excel method on PyPSA scenarios: Inv × (end-use_s / end-use_Build).
B Excel B investment unchanged; only the denominator is PyPSA end-use.
C All Inv_base × German DSO stock ratio. Over-scales TSO. Not recommended.
D All Inv_base × German peak HV→LV ratio. Empirically identical to C.
E Recommended. VNB share × peak DSO; ÜNB share × TSO *stock* GW-km.
Historical 2023–2025 unscaled.
Sensitivities on the E sheet set: TSO left at NEP (E_dso_only_tso_nep);
TSO scaled by *new* GW-km (E_tso_new_volume; 50% 2030 new TSO is ~7% of
Build and is not a realistic replacement programme).
## What is exogenous vs endogenous
Exogenous: EU DSO budget labels, Excel RAB/WACC/OPEX/Inv_base, OPEX
invariance, band weights, conventional/industry/agri/data-centre TWh.
Endogenous: German realised DSO capacity and peak flow; German TSO
expansion (it *falls* with the DSO cap, it does not substitute);
HP/RH/BEV; rooftop (hits the German cap from 65% 2030); shedding
(50% 2030 only, ~20 TWh LV); electrolysis; Germany's rising share of
the scarce EU DSO pie (16% → ~19–21%).
## Publication recommendation
Use Case E. Peak is the right physical driver for DSO investment; in
these solves it equals capacity. Do not present 85/75/65/50% as German
DSO findings. Do not put PyPSA euros into the German RAB.

## Parameters
German Industrial Network Tariff Model — Parameters (v3)
Formula: Tariff_t = (WACC·RAB_t + Dep_t + OPEX_t) / Demand_t ¦ Inv_s(t) = Inv_base(t) × Demand_s(t) / Demand_B(t) ¦ ★ 2023–2025 = historical benchmark (yellow)
① WACC
WACC 2024–2028 | 5.04% | BNetzA BK4-21-055/056: EK new 5.07%/old 3.51%; 40/60 EK-FK; 30% tax → pre-tax 5.04%
WACC 2029–2050 | 5.5% | OLG Düsseldorf Aug 2023 + BNetzA AGNes reform; central estimate
② RAB & Depreciation
Opening RAB (2023) | 186 | Back-derived: BDEW 2024 capital costs €15bn/yr → (5.04%+3%)×RAB=15bn
Depreciation rate | 3% | ARegV §6: ~33-yr average regulated asset life
RAB roll-forward | RAB_{t+1} = RAB_t + Inv_t − Dep_t | Building-block model; Inv_t is scenario-adjusted
③ OPEX
OPEX 2023→2045 (linear) | €15bn → €27bn | BDEW/Frontier Economics Dec 2024; flat from 2045
④ Base Investment Schedule (Scenario B)
Inv_base 2023 | 15 | IMK/Böckler Dec 2024
Inv_base 2024–2025 | 18 | Ramp
Inv_base 2026–2027 | 23 | Acceleration
Inv_base 2028–2029 | 30 | Near-peak
Inv_base 2030–2037 | 34 | Peak; ÜNB ~€19.8bn + VNB ~€14.4bn
Inv_base 2038–2045 | 24 | Transmission complete post-2037; distribution stays elevated
Inv_base 2046–2050 | 18 | [INFERENCE]
⑤ Scenario-Adjusted Investment ★
Inv_A(t)=Inv_B(t)×Dem_A(t)/Dem_B(t) | proportional scaling | Lower demand → smaller grid investment → smaller RAB
Inv_C(t)=Inv_B(t)×Dem_C(t)/Dem_B(t) | proportional scaling | Higher demand → larger investment → larger RAB
⑥ ★ UPDATED Demand Scenarios (NEP 2037/2045 Version 2025 draft, July 2024)
Scenario A (Bruttostromverbrauch 2045) | 967 | TSO Szenariorahmenentwurf NEP2037/2045 Version 2025, p.13: 'Bruttostromverbrauch 967 TWh in 2045'
Scenario B (Bruttostromverbrauch 2045) | 1179 | TSO Szenariorahmenentwurf NEP2037/2045 Version 2025, p.15: 'Bruttostromverbrauch 1.179 TWh in 2045'
Scenario C (Bruttostromverbrauch 2045) | 1351 | TSO Szenariorahmenentwurf NEP2037/2045 Version 2025, p.17: 'Bruttostromverbrauch 1.351 TWh in 2045'
Note on gross vs net | Gross (Brutto) figures used as denominator | For precise tariff calculation, apply ~8% net-to-gross correction → net A≈890/B≈1,085/C≈1,243 TWh. Using gross slightly understates tariffs.
2037 intermediate (A/B/C, gross) | 855 / 1,030 / 1,180 TWh | BNetzA approved SR 2025 via ZFK Dec 2025: 'Szenario A 845-865 TWh, B 1,000-1,065 TWh for 2037'
⑦ Band Allocation Weights
IG >150 GWh HöS | 0.22 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
IF 70–150 GWh HS/HöS | 0.4 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
IE 20–70 GWh HS | 0.63 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
ID 2–20 GWh MS | 0.93 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets
IC 0.5–2 GWh NS | 1.3 | Deep-embedded cost causation; calibrated to EWI BW study + BNetzA DSO price sheets

## RAB & Cost Build-up
RAB Roll-Forward & Cost Numerator ¦ ★ Yellow = 2023–2025 historical benchmark ¦ Inv_s(t) = Inv_base(t) × Demand_s(t) / Demand_B(t)
Year | Scenario A — Low | [7 empty] | Scenario B — Base | [7 empty] | Scenario C — High
| Inv (bn €) | Dep (bn €) | Closing RAB (bn €) | WACC×RAB (bn €) | OPEX (bn €) | Total Cost (bn €) | Demand (TWh) | Sys Avg (ct/kWh) | Inv (bn €) | Dep (bn €) | Closing RAB (bn €) | WACC×RAB (bn €) | OPEX (bn €) | Total Cost (bn €) | Demand (TWh) | Sys Avg (ct/kWh) | Inv (bn €) | Dep (bn €) | Closing RAB (bn €) | WACC×RAB (bn €) | OPEX (bn €) | Total Cost (bn €) | Demand (TWh) | Sys Avg (ct/kWh)
2023 | 15 | 5.58 | 195.42 | 9.37 | 15 | 29.95 | 510 | 5.87 | 15 | 5.58 | 195.42 | 9.37 | 15 | 29.95 | 510 | 5.87 | 15 | 5.58 | 195.42 | 9.37 | 15 | 29.95 | 510 | 5.87
2024 | 17.83 | 5.86 | 207.38 | 9.85 | 15.55 | 31.26 | 515 | 6.07 | 18 | 5.86 | 207.56 | 9.85 | 15.55 | 31.26 | 520 | 6.01 | 18.26 | 5.86 | 207.82 | 9.85 | 15.55 | 31.26 | 527.5 | 5.93
2025 | 17.66 | 6.22 | 218.82 | 10.45 | 16.09 | 32.76 | 520 | 6.3 | 18 | 6.23 | 219.33 | 10.46 | 16.09 | 32.78 | 530 | 6.18 | 18.51 | 6.23 | 220.09 | 10.47 | 16.09 | 32.8 | 545 | 6.02
2026 | 22.09 | 6.56 | 234.35 | 11.03 | 16.64 | 34.23 | 534 | 6.41 | 23 | 6.58 | 235.75 | 11.05 | 16.64 | 34.27 | 556 | 6.16 | 24.16 | 6.6 | 237.65 | 11.09 | 16.64 | 34.33 | 584 | 5.88
2027 | 21.66 | 7.03 | 248.97 | 11.81 | 17.18 | 36.02 | 548 | 6.57 | 23 | 7.07 | 251.68 | 11.88 | 17.18 | 36.14 | 582 | 6.21 | 24.62 | 7.13 | 255.14 | 11.98 | 17.18 | 36.29 | 623 | 5.82
2028 | 27.73 | 7.47 | 269.24 | 12.55 | 17.73 | 37.74 | 562 | 6.72 | 30 | 7.55 | 274.13 | 12.68 | 17.73 | 37.96 | 608 | 6.24 | 32.66 | 7.65 | 280.15 | 12.86 | 17.73 | 38.24 | 662 | 5.78
2029 | 27.26 | 8.08 | 288.41 | 14.81 | 18.27 | 41.16 | 576 | 7.15 | 30 | 8.22 | 295.9 | 15.08 | 18.27 | 41.57 | 634 | 6.56 | 33.17 | 8.4 | 304.91 | 15.41 | 18.27 | 42.09 | 701 | 6
2030 | 30.39 | 8.65 | 310.16 | 15.86 | 18.82 | 43.33 | 590 | 7.34 | 34 | 8.88 | 321.03 | 16.27 | 18.82 | 43.97 | 660 | 6.66 | 38.12 | 9.15 | 333.89 | 16.77 | 18.82 | 44.74 | 740 | 6.05
2031 | 29.95 | 9.3 | 330.8 | 17.06 | 19.36 | 45.73 | 627.86 | 7.28 | 34 | 9.63 | 345.4 | 17.66 | 19.36 | 46.65 | 712.86 | 6.54 | 38.29 | 10.02 | 362.16 | 18.36 | 19.36 | 47.74 | 802.86 | 5.95
2032 | 29.56 | 9.92 | 350.43 | 18.19 | 19.91 | 48.03 | 665.71 | 7.21 | 34 | 10.36 | 369.03 | 19 | 19.91 | 49.27 | 765.71 | 6.43 | 38.44 | 10.86 | 389.74 | 19.92 | 19.91 | 50.69 | 865.71 | 5.86
2033 | 29.22 | 10.51 | 369.14 | 19.27 | 20.45 | 50.24 | 703.57 | 7.14 | 34 | 11.07 | 391.96 | 20.3 | 20.45 | 51.82 | 818.57 | 6.33 | 38.57 | 11.69 | 416.62 | 21.44 | 20.45 | 53.58 | 928.57 | 5.77
2034 | 28.93 | 11.07 | 387 | 20.3 | 21 | 52.38 | 741.43 | 7.06 | 34 | 11.76 | 414.2 | 21.56 | 21 | 54.32 | 871.43 | 6.23 | 38.68 | 12.5 | 442.8 | 22.91 | 21 | 56.41 | 991.43 | 5.69
2035 | 28.67 | 11.61 | 404.05 | 21.28 | 21.55 | 54.44 | 779.29 | 6.99 | 34 | 12.43 | 435.78 | 22.78 | 21.55 | 56.75 | 924.29 | 6.14 | 38.78 | 13.28 | 468.3 | 24.35 | 21.55 | 59.18 | 1054.29 | 5.61
2036 | 28.43 | 12.12 | 420.36 | 22.22 | 22.09 | 56.44 | 817.14 | 6.91 | 34 | 13.07 | 456.7 | 23.97 | 22.09 | 59.13 | 977.14 | 6.05 | 38.87 | 14.05 | 493.12 | 25.76 | 22.09 | 61.9 | 1117.14 | 5.54
2037 | 28.22 | 12.61 | 435.98 | 23.12 | 22.64 | 58.37 | 855 | 6.83 | 34 | 13.7 | 477 | 25.12 | 22.64 | 61.46 | 1030 | 5.97 | 38.95 | 14.79 | 517.28 | 27.12 | 22.64 | 64.55 | 1180 | 5.47
2038 | 19.82 | 13.08 | 442.72 | 23.98 | 23.18 | 60.24 | 870 | 6.92 | 24 | 14.31 | 486.69 | 26.24 | 23.18 | 63.73 | 1053.33 | 6.05 | 27.49 | 15.52 | 529.25 | 28.45 | 23.18 | 67.15 | 1206.67 | 5.56
2039 | 19.73 | 13.28 | 449.17 | 24.35 | 23.73 | 61.36 | 885 | 6.93 | 24 | 14.6 | 496.09 | 26.77 | 23.73 | 65.1 | 1076.67 | 6.05 | 27.49 | 15.88 | 540.87 | 29.11 | 23.73 | 68.71 | 1233.33 | 5.57
2040 | 19.64 | 13.47 | 455.33 | 24.7 | 24.27 | 62.45 | 900 | 6.94 | 24 | 14.88 | 505.21 | 27.29 | 24.27 | 66.44 | 1100 | 6.04 | 27.49 | 16.23 | 552.13 | 29.75 | 24.27 | 70.25 | 1260 | 5.58
2041 | 19.65 | 13.66 | 461.31 | 25.04 | 24.82 | 63.52 | 913.4 | 6.95 | 24 | 15.16 | 514.05 | 27.79 | 24.82 | 67.76 | 1115.8 | 6.07 | 27.49 | 16.56 | 563.06 | 30.37 | 24.82 | 71.75 | 1278.2 | 5.61
2042 | 19.66 | 13.84 | 467.13 | 25.37 | 25.36 | 64.58 | 926.8 | 6.97 | 24 | 15.42 | 522.63 | 28.27 | 25.36 | 69.06 | 1131.6 | 6.1 | 27.5 | 16.89 | 573.67 | 30.97 | 25.36 | 73.22 | 1296.4 | 5.65
2043 | 19.67 | 14.01 | 472.78 | 25.69 | 25.91 | 65.62 | 940.2 | 6.98 | 24 | 15.68 | 530.95 | 28.74 | 25.91 | 70.33 | 1147.4 | 6.13 | 27.5 | 17.21 | 583.95 | 31.55 | 25.91 | 74.67 | 1314.6 | 5.68
2044 | 19.68 | 14.18 | 478.27 | 26 | 26.45 | 66.64 | 953.6 | 6.99 | 24 | 15.93 | 539.02 | 29.2 | 26.45 | 71.59 | 1163.2 | 6.15 | 27.5 | 17.52 | 593.93 | 32.12 | 26.45 | 76.09 | 1332.8 | 5.71
2045 | 19.68 | 14.35 | 483.61 | 26.31 | 27 | 67.65 | 967 | 7 | 24 | 16.17 | 546.85 | 29.65 | 27 | 72.82 | 1179 | 6.18 | 27.5 | 17.82 | 603.62 | 32.67 | 27 | 77.48 | 1351 | 5.74
2046 | 14.76 | 14.51 | 483.86 | 26.6 | 27 | 68.11 | 973.6 | 7 | 18 | 16.41 | 548.45 | 30.08 | 27 | 73.48 | 1187.2 | 6.19 | 20.63 | 18.11 | 606.14 | 33.2 | 27 | 78.31 | 1360.8 | 5.75
2047 | 14.76 | 14.52 | 484.11 | 26.61 | 27 | 68.13 | 980.2 | 6.95 | 18 | 16.45 | 549.99 | 30.16 | 27 | 73.62 | 1195.4 | 6.16 | 20.64 | 18.18 | 608.59 | 33.34 | 27 | 78.52 | 1370.6 | 5.73
2048 | 14.76 | 14.52 | 484.34 | 26.63 | 27 | 68.15 | 986.8 | 6.91 | 18 | 16.5 | 551.49 | 30.25 | 27 | 73.75 | 1203.6 | 6.13 | 20.64 | 18.26 | 610.98 | 33.47 | 27 | 78.73 | 1380.4 | 5.7
2049 | 14.76 | 14.53 | 484.57 | 26.64 | 27 | 68.17 | 993.4 | 6.86 | 18 | 16.54 | 552.95 | 30.33 | 27 | 73.88 | 1211.8 | 6.1 | 20.65 | 18.33 | 613.3 | 33.6 | 27 | 78.93 | 1390.2 | 5.68
2050 | 14.75 | 14.54 | 484.78 | 26.65 | 27 | 68.19 | 1000 | 6.82 | 18 | 16.59 | 554.36 | 30.41 | 27 | 74 | 1220 | 6.07 | 20.66 | 18.4 | 615.56 | 33.73 | 27 | 79.13 | 1400 | 5.65

## Tariff Results
German Industrial Network Tariffs ¦ EUR/kWh ¦ Real 2023 EUR ¦ ★ Yellow = 2023–2025 historical benchmark ¦ Demand: NEP 2037/2045 Version 2025 draft
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Scenario A — Low — Demand 2045: 967 TWh (Brutto, NEP 2037/2045 V2025)
System average (ct/kWh) | 5.87 | 6.07 | 6.3 | 6.41 | 6.57 | 6.72 | 7.15 | 7.34 | 7.28 | 7.21 | 7.14 | 7.06 | 6.99 | 6.91 | 6.83 | 6.92 | 6.93 | 6.94 | 6.95 | 6.97 | 6.98 | 6.99 | 7 | 7 | 6.95 | 6.91 | 6.86 | 6.82
IG >150 GWh HöS | 0.0129 | 0.0134 | 0.0139 | 0.0141 | 0.0145 | 0.0148 | 0.0157 | 0.0162 | 0.016 | 0.0159 | 0.0157 | 0.0155 | 0.0154 | 0.0152 | 0.015 | 0.0152 | 0.0153 | 0.0153 | 0.0153 | 0.0153 | 0.0154 | 0.0154 | 0.0154 | 0.0154 | 0.0153 | 0.0152 | 0.0151 | 0.015
IF 70–150 GWh HS/HöS | 0.0235 | 0.0243 | 0.0252 | 0.0256 | 0.0263 | 0.0269 | 0.0286 | 0.0294 | 0.0291 | 0.0289 | 0.0286 | 0.0283 | 0.0279 | 0.0276 | 0.0273 | 0.0277 | 0.0277 | 0.0278 | 0.0278 | 0.0279 | 0.0279 | 0.028 | 0.028 | 0.028 | 0.0278 | 0.0276 | 0.0274 | 0.0273
IE 20–70 GWh HS | 0.037 | 0.0382 | 0.0397 | 0.0404 | 0.0414 | 0.0423 | 0.045 | 0.0463 | 0.0459 | 0.0455 | 0.045 | 0.0445 | 0.044 | 0.0435 | 0.043 | 0.0436 | 0.0437 | 0.0437 | 0.0438 | 0.0439 | 0.044 | 0.044 | 0.0441 | 0.0441 | 0.0438 | 0.0435 | 0.0432 | 0.043
ID 2–20 GWh MS | 0.0546 | 0.0564 | 0.0586 | 0.0596 | 0.0611 | 0.0625 | 0.0665 | 0.0683 | 0.0677 | 0.0671 | 0.0664 | 0.0657 | 0.065 | 0.0642 | 0.0635 | 0.0644 | 0.0645 | 0.0645 | 0.0647 | 0.0648 | 0.0649 | 0.065 | 0.0651 | 0.0651 | 0.0646 | 0.0642 | 0.0638 | 0.0634
IC 0.5–2 GWh NS | 0.0764 | 0.0789 | 0.0819 | 0.0833 | 0.0855 | 0.0873 | 0.0929 | 0.0955 | 0.0947 | 0.0938 | 0.0928 | 0.0918 | 0.0908 | 0.0898 | 0.0887 | 0.09 | 0.0901 | 0.0902 | 0.0904 | 0.0906 | 0.0907 | 0.0908 | 0.091 | 0.0909 | 0.0904 | 0.0898 | 0.0892 | 0.0886
Scenario B — Base — Demand 2045: 1,179 TWh (Brutto, NEP 2037/2045 V2025)
System average (ct/kWh) | 5.87 | 6.01 | 6.18 | 6.16 | 6.21 | 6.24 | 6.56 | 6.66 | 6.54 | 6.43 | 6.33 | 6.23 | 6.14 | 6.05 | 5.97 | 6.05 | 6.05 | 6.04 | 6.07 | 6.1 | 6.13 | 6.15 | 6.18 | 6.19 | 6.16 | 6.13 | 6.1 | 6.07
IG >150 GWh HöS | 0.0129 | 0.0132 | 0.0136 | 0.0136 | 0.0137 | 0.0137 | 0.0144 | 0.0147 | 0.0144 | 0.0142 | 0.0139 | 0.0137 | 0.0135 | 0.0133 | 0.0131 | 0.0133 | 0.0133 | 0.0133 | 0.0134 | 0.0134 | 0.0135 | 0.0135 | 0.0136 | 0.0136 | 0.0135 | 0.0135 | 0.0134 | 0.0133
IF 70–150 GWh HS/HöS | 0.0235 | 0.024 | 0.0247 | 0.0247 | 0.0248 | 0.025 | 0.0262 | 0.0266 | 0.0262 | 0.0257 | 0.0253 | 0.0249 | 0.0246 | 0.0242 | 0.0239 | 0.0242 | 0.0242 | 0.0242 | 0.0243 | 0.0244 | 0.0245 | 0.0246 | 0.0247 | 0.0248 | 0.0246 | 0.0245 | 0.0244 | 0.0243
IE 20–70 GWh HS | 0.037 | 0.0379 | 0.039 | 0.0388 | 0.0391 | 0.0393 | 0.0413 | 0.042 | 0.0412 | 0.0405 | 0.0399 | 0.0393 | 0.0387 | 0.0381 | 0.0376 | 0.0381 | 0.0381 | 0.0381 | 0.0383 | 0.0384 | 0.0386 | 0.0388 | 0.0389 | 0.039 | 0.0388 | 0.0386 | 0.0384 | 0.0382
ID 2–20 GWh MS | 0.0546 | 0.0559 | 0.0575 | 0.0573 | 0.0577 | 0.0581 | 0.061 | 0.062 | 0.0609 | 0.0598 | 0.0589 | 0.058 | 0.0571 | 0.0563 | 0.0555 | 0.0563 | 0.0562 | 0.0562 | 0.0565 | 0.0568 | 0.057 | 0.0572 | 0.0574 | 0.0576 | 0.0573 | 0.057 | 0.0567 | 0.0564
IC 0.5–2 GWh NS | 0.0764 | 0.0781 | 0.0804 | 0.0801 | 0.0807 | 0.0812 | 0.0852 | 0.0866 | 0.0851 | 0.0836 | 0.0823 | 0.081 | 0.0798 | 0.0787 | 0.0776 | 0.0787 | 0.0786 | 0.0785 | 0.0789 | 0.0793 | 0.0797 | 0.08 | 0.0803 | 0.0805 | 0.0801 | 0.0797 | 0.0793 | 0.0789
Scenario C — High — Demand 2045: 1,351 TWh (Brutto, NEP 2037/2045 V2025)
System average (ct/kWh) | 5.87 | 5.93 | 6.02 | 5.88 | 5.82 | 5.78 | 6 | 6.05 | 5.95 | 5.86 | 5.77 | 5.69 | 5.61 | 5.54 | 5.47 | 5.56 | 5.57 | 5.58 | 5.61 | 5.65 | 5.68 | 5.71 | 5.74 | 5.75 | 5.73 | 5.7 | 5.68 | 5.65
IG >150 GWh HöS | 0.0129 | 0.013 | 0.0132 | 0.0129 | 0.0128 | 0.0127 | 0.0132 | 0.0133 | 0.0131 | 0.0129 | 0.0127 | 0.0125 | 0.0123 | 0.0122 | 0.012 | 0.0122 | 0.0123 | 0.0123 | 0.0123 | 0.0124 | 0.0125 | 0.0126 | 0.0126 | 0.0127 | 0.0126 | 0.0125 | 0.0125 | 0.0124
IF 70–150 GWh HS/HöS | 0.0235 | 0.0237 | 0.0241 | 0.0235 | 0.0233 | 0.0231 | 0.024 | 0.0242 | 0.0238 | 0.0234 | 0.0231 | 0.0228 | 0.0225 | 0.0222 | 0.0219 | 0.0223 | 0.0223 | 0.0223 | 0.0225 | 0.0226 | 0.0227 | 0.0228 | 0.0229 | 0.023 | 0.0229 | 0.0228 | 0.0227 | 0.0226
IE 20–70 GWh HS | 0.037 | 0.0373 | 0.0379 | 0.0379 | 0.0367 | 0.0364 | 0.0378 | 0.0381 | 0.0375 | 0.0369 | 0.0364 | 0.0358 | 0.0354 | 0.0349 | 0.0345 | 0.0351 | 0.0351 | 0.0351 | 0.0354 | 0.0356 | 0.0358 | 0.036 | 0.0361 | 0.0363 | 0.0361 | 0.0359 | 0.0358 | 0.0356
ID 2–20 GWh MS | 0.0546 | 0.0551 | 0.056 | 0.0547 | 0.0542 | 0.0537 | 0.0558 | 0.0562 | 0.0553 | 0.0545 | 0.0537 | 0.0529 | 0.0522 | 0.0515 | 0.0509 | 0.0518 | 0.0518 | 0.0518 | 0.0522 | 0.0525 | 0.0528 | 0.0531 | 0.0533 | 0.0535 | 0.0533 | 0.053 | 0.0528 | 0.0526
IC 0.5–2 GWh NS | 0.0764 | 0.077 | 0.0782 | 0.0764 | 0.0757 | 0.0751 | 0.078 | 0.0786 | 0.0773 | 0.0761 | 0.075 | 0.074 | 0.073 | 0.072 | 0.0711 | 0.0723 | 0.0724 | 0.0725 | 0.073 | 0.0734 | 0.0738 | 0.0742 | 0.0746 | 0.0748 | 0.0745 | 0.0741 | 0.0738 | 0.0735

## Scenario Comparison
Scenario Comparison — Key Years ¦ EUR/kWh ¦ ★ 2025 = historical benchmark (yellow) ¦ Demand: NEP 2037/2045 Version 2025 draft
| 2025 |  |  | 2030 |  |  | 2040 |  |  | 2045 |  |  | 2050
Band / Consumption | A Low | B Base | C High | A Low | B Base | C High | A Low | B Base | C High | A Low | B Base | C High | A Low | B Base | C High
IG >150 GWh HöS | 0.0139 | 0.0136 | 0.0132 | 0.0162 | 0.0147 | 0.0133 | 0.0153 | 0.0133 | 0.0123 | 0.0154 | 0.0136 | 0.0126 | 0.015 | 0.0133 | 0.0124
IF 70–150 GWh HS/HöS | 0.0252 | 0.0247 | 0.0241 | 0.0294 | 0.0266 | 0.0242 | 0.0278 | 0.0242 | 0.0223 | 0.028 | 0.0247 | 0.0229 | 0.0273 | 0.0243 | 0.0226
IE 20–70 GWh HS | 0.0397 | 0.039 | 0.0379 | 0.0463 | 0.042 | 0.0381 | 0.0437 | 0.0381 | 0.0351 | 0.0441 | 0.0389 | 0.0361 | 0.043 | 0.0382 | 0.0356
ID 2–20 GWh MS | 0.0586 | 0.0575 | 0.056 | 0.0683 | 0.062 | 0.0562 | 0.0645 | 0.0562 | 0.0518 | 0.0651 | 0.0574 | 0.0533 | 0.0634 | 0.0564 | 0.0526
IC 0.5–2 GWh NS | 0.0819 | 0.0804 | 0.0782 | 0.0955 | 0.0866 | 0.0786 | 0.0902 | 0.0785 | 0.0725 | 0.091 | 0.0803 | 0.0746 | 0.0886 | 0.0789 | 0.0735
System average | 0.063 | 0.0618 | 0.0602 | 0.0734 | 0.0666 | 0.0605 | 0.0694 | 0.0604 | 0.0558 | 0.07 | 0.0618 | 0.0574 | 0.0682 | 0.0607 | 0.0565
★ Yellow columns (2025): historical benchmark — model calibration reference only, not a forecast

## Methodology Note
Methodology Note ¦ v3 ¦ ★ = Updated vs previous version
FORMULA | Tariff_t = (WACC · RAB_t + Dep_t + OPEX_t) / Demand_t Standard BNetzA building-block cost recovery model (ARegV, StromNEV).
WACC | 2024–2028: 5.04% nominal pre-tax (BNetzA BK4-21-055/056). 2029–2050: 5.50% (OLG Düsseldorf Aug 2023 + BNetzA AGNes reform).
RAB | Opening €186 bn (2023). Back-derived from BDEW 2024 capital costs ~€15 bn/yr. Roll-forward: RAB_{t+1} = RAB_t + Inv_t − Dep_t. Dep rate = 3.0%/yr (ARegV §6).
INVESTMENT ★ | Base (Scenario B): €15bn (2023) → €34bn/yr by 2030–2037 → €24bn (2038–2045) → €18bn (2046–2050). Source: IMK/Hans-Böckler-Stiftung Dec 2024. Scenarios A & C: Inv_s(t) = Inv_B(t) × Demand_s(t) / Demand_B(t) (proportional scaling).
OPEX | €15bn (2023) → €27bn (2045), linear. BDEW/Frontier Economics Dec 2024. Constant across scenarios.
★ DEMAND (UPDATED v3) | Source: TSO Szenariorahmenentwurf NEP 2037/2045 Version 2025, July 2024. Bruttostromverbrauch 2045: Scenario A — 967 TWh (p.13: 'Der Bruttostromverbrauch liegt in diesem Szenario mit 967 TWh im Jahr 2045') Scenario B — 1,179 TWh (p.15: 'Bruttostromverbrauch liegt in diesem Szenario mit 1.179 TWh im Jahr 2045') Scenario C — 1,351 TWh (p.17: 'Bruttostromverbrauch liegt mit 1.351 TWh 2045') URL: https://www.netzentwicklungsplan.de/sites/default/files/2024-07/Szenariorahmenentwurf_NEP2037_2025.pdf 2037 intermediate: A≈855, B≈1,030, C≈1,180 TWh (BNetzA approved SR 2025, via ZFK Dec 2025). Note: These are GROSS (Brutto) figures. For precise tariff calculation apply ~8% net-to-gross correction. Using gross slightly understates tariffs (denominator is ~8% larger than net consumption).
★ HISTORICAL YEARS (YELLOW) | Years 2023–2025 are highlighted in yellow across all sheets. They represent the historical/benchmark period used to calibrate the model (opening RAB, OPEX baseline). These are not forecasts. Germany's actual net consumption in 2023 was ~510 TWh (BNetzA 2024).
BAND WEIGHTS | IG (HöS)=0.22×, IF (HS/HöS)=0.40×, IE (HS)=0.63×, ID (MS)=0.93×, IC (NS)=1.30×. Calibrated to EWI/ef.Ruhr BW study + BNetzA DSO price sheets.
CAVEATS | - §19(2) StromNEV individual discounts for IF/IG not modelled (actual tariffs may be 10–20% lower). - 2050 = [INFERENCE]; no German study extends beyond 2045. - Gross figures used as denominator (see Demand note above). - OPEX and WACC constant across scenarios (simplification).
KEY SOURCES | 1) BDEW/Frontier Economics & Consentec, 'Netzentgeltentwicklung Strom', Dec 2024. 2) IMK/Hans-Böckler-Stiftung, 'Ausbau der Stromnetze: Investitionsbedarfe', Dec 2024. 3) BNetzA BK4-21-055/056, Eigenkapitalzinssatz 4. Regulierungsperiode. 4) TSO Szenariorahmenentwurf NEP 2037/2045 Version 2025 (July 2024 draft). 5) BNetzA, Genehmigung Szenariorahmen 2025-2037/2045, April 2025. 6) EWI/ef.Ruhr, 'Netzentgelte Baden-Württemberg', Apr 2024. 7) ACER, 'Electricity Network Tariff Methodologies in Europe', 2025.